Supplementary Table 1.

NA inhibition assay methodology in WHO CCs.

| WHO CCs | Procedure used for IC50 determination |  |  |  | Antivirals available |
| --- | --- | --- | --- | --- | --- |
|  | Reagents | Protocol | Plate reader | Software for IC50 determination |  |
| Atlanta, United States | NA-Fluor Influenza Neuraminidase Assay Kit (Applied Biosystems) | Atlanta WHO CC optimized fluorescence-based assay | Victor3 V (PerkinElmer) Synergy Neo (BioTek) | JASPR v2.1 (CDC) | Oseltamivir Zanamivir Peramivir Laninamivir |
| Beijing, China | NA-Fluor Influenza Neuraminidase Assay Kit (Applied Biosystems) | Beijing WHO CC optimized fluorescence-based assay | Envision (PerkinElmer) | GraphPad Prism 5 (GraphPad Software) | Oseltamivir Zanamivir |
| London, United Kingdom | In-house (MUNANA) | London WHO CC optimized fluorescence-based assay | Infinite F200 PRO (Tecan) | Excel and GraFit 7 (Erithacus Software) | Oseltamivir Zanamivir |
| Melbourne, Australia | In-house (MUNANA) | Melbourne WHO CC optimized fluorescence-based assay | Fluoroskan Ascent FL Microplate Fluorometer (Thermo Scientific) | JASPR v2.1 (CDC) | Oseltamivir Zanamivir Peramivir Laninamivir |
| Tokyo, Japan | NA-Fluor Influenza Neuraminidase Assay Kit (Applied Biosystems) | Tokyo WHO CC optimized fluorescence-based assay | Mithras LB940 (Berthold) | MikroWin 2000 (Mikrotek Laborsysteme) | Oseltamivir Zanamivir Peramivir Laninamivir |