Supplemental Table 1a..  Description of well characterized samples included in the 2008 panel.

Donor History

Sample	Species 		(SPF for BV, SIV, SRV, STLV except as noted)

P2008-1 	M. mulatta	Experimentally infected with SIVmac

P2008-2	 M. fasicularis	Spontaneous SRV infection for >10 years

P2008-3	M. fasicularis	Spontaneous BV and SRV infection for >10 years

P2008-4	M. fasicularis	Spontaneous SRV infection for >10 years

P2008-5	M. mulatta	Negative control

P2008-6	M. mulatta	Experimentally infected with SIVmac

P2008-7	M. fasicularis	Spontaneous SRV and STLV infection

P2008-8	M. fasicularis	Spontaneous BV and STLV infection for >10 years

Spontaneous infection documented by antibody and/or PCR and/or culture positivity detection on multiple samples collected on more than one date.

Supplemental Table 1b.  Aggregate BV, SRV, SIV, and STLV antibody testing results from well characterized samples included in the initial 2008 panel. Samples were characterized as either antibody positive or negative based on repeat screening and confirmatory test results at PAL.  The number of tests performed per virus and per sample varied in each laboratory.

|  | BV | SIV | SRV | STLV |
| --- | --- | --- | --- | --- |
| Number of positive samples tested | 12 | 10 | 20 | 10 |
| Number of positive test results | 11 | 10 | 17 | 8 |
| Number of total negative samples tested | 36 | 30 | 20 | 30 |
| Number of negative test results | 35 | 30 | 20 | 30 |
| Percent Agreement | 93.4% | 100.0% | 86.6% | 96.7% |