**SUPPLEMENTARY INFORMATION FOR:**

**Evaluation of the Novaplex II HPV28 Detection Assay for HPV Typing in Formalin-Fixed Paraffin-Embedded Tissues**

Hem R. Thapa1, Elizabeth R. Unger1, and Troy D. Querec1

1. Division of High-Consequence Pathogens and Pathology, National Center for Emerging and Zoonotic Infectious Diseases, Centers for Disease Control and Prevention, Atlanta, GA, USA

**Number of text pages** = 0

**Number of supplemental tables** = 2

**Number of figures** = 0

**Running head**: Novaplex assay for HPV typing in FFPE tissues

***Financial Support***: This work was supported by Centers for Diseases Control and Prevention.

Address correspondence to Troy D. Querec, Ph.D. at [hep0@cdc.gov](mailto:hep0@cdc.gov) or Hem R. Thapa, Ph.D. at [qkt1@cdc.gov](mailto:qkt1@cdc.gov), Division of High-Consequence Pathogens and Pathology, Centers for Disease Control and Prevention, 1600 Clifton Rd NE, H23-4, Atlanta, GA 30329.

**Table S1** LA & LiPA Testing Algorithm for interpretation of typing results from reference assay

|  |  |  |  |
| --- | --- | --- | --- |
| **LA Result** | **LiPA Result** | **Final Result** | **Reported Assay** |
| HPV positive | Not applicable | HPV positive | LA |
| HPV negative | HPV positive | HPV positive | LiPA |
| HPV negative | HPV negative | LA |
| Inadequate | HPV positive | HPV positive | LiPA |
| HPV negative | Inadequate | LA |

**Table S2** Formulae used for calculations in this study

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| |  |  |  |  | | --- | --- | --- | --- | | Reference test | | | | | Evaluated Test |  | + | - | | + | ***A*** | ***B*** | | - | ***C*** | *D* | | **Proportion Discrepant Types** | **Positive Agreement** | **Negative Agreement** | **Accuracy** | **Positive Concordance** |
| |  |  | | --- | --- | | *A* | *B* | | *C* | *D* | |  |  |  |  |  |

A, B, C and D correspond to number of HPV positive, or HPV negative samples determined by each HPV assay