# Supplement

## Supplementary Methods

### Persistent Organic Pollutant Measurement

Plasma samples were analyzed using methods representing a modification of methods presented by CDC, 2007.9 For this method each 2 mL plasma sample was spiked with internal standards using mixtures of labeled PCBs (EC-5325, CIL, Andover, MA, USA), OCPs (ES-5465, CIL, Andover, MA, USA), and PBDEs (EO-5277, CIL, Andover, MA, USA). Recovery standards used 13C6-TCDD, 13C12-CB-208, and 13C12-BDE-139 (CIL, Andover, MA, USA). Native standards (PCBs, EC-5433; OCPs, ES-5467; PBDEs, EO-5103; CIL, Andover, MA, USA) were used for calibration and method validation. Liquid-liquid extractions used a hexane/methyl tert-butyl ether mixture (1:1 v/v, Fisher Scientific, Fair Lawn, NJ, USA), and the extract was concentrated and prepared for cleanup using solid-phase extraction silica (Sep-Pak® Vac 1 cc/50 mg, Waters Corporation, Milford, MA, USA) and Florisil (Sep-Pak® Plus, Waters Corporation, Milford, MA, USA) cartridges, both under vacuum, with a hexane/dichloromethane mixture (1:1 v/v, Fisher Scientific, Fair Lawn, NJ, USA) mixture added to elute the desired compounds. These cartridges, selected to improve consistency between samples and to minimize background levels, were pre-cleaned with a hexane/dichloromethane mixture, and then conditioned with hexane. The eluate was concentrated to 100 µL under nitrogen gas blowdown. After transfer to an insert and a GC vial, 2 µL samples were injected into the GC-MS/MS (Agilent 7890B/7010B, Agilent Technologies, Santa Clara, CA, USA) equipped with a DB-5MS column (30 m length, 0.25 mm inner diameter, 0.25 μm film thickness, J&W Scientific, Folsom, CA, USA) for separation. Helium was used as the carrier gas (0.7 mL/min) and methane as the MS reagent gas. The mass-selective detector operated in electron impact mode set for selected ion using an ionization energy of 38 eV and the dynamic multiple reaction monitoring (MRM) mode to enhance sensitivity. Each run used multiple time windows to scan only a few m/z ions at a given retention time. The method was developed and verified for a suite of 60 PCBs, 20 OCPs and 12 PBDEs.

### Quality Assurance Procedures

Quality assurance activities included using authentic standards (certified surrogate and calibration standard solutions), blanks, matrix spikes, duplicates, and analyses of standard reference materials. To minimize blank contamination, all glassware, consumables, and evaporator attachments were rinsed with hexane and baked overnight before use. Target compounds were detected at mostly trace levels, except for the more volatile PCBs, which were found at intermediate levels. Internal and calibration standard solution preparation and spiking used only designated micro-syringes. Solvent blends were made on the day of use from identified and tracked reagents. We utilized multiple blanks, National Institute of Standards and Technology (NIST) reference standard materials (RSMs), and calibration check samples in each sequence (20-40 samples) and checked calibration within each sequence. Background and matrix effects were determined using fetal bovine serum blanks. Six- and seven-point calibration curves were developed using certified standards. Linear calibration curves, based on standards with concentrations ranging from 0.5 to 1000 pg/mL, were generated using the ratio of the peak area of the analyte to the labeled internal standard. The R2 values of the curve were equal or greater than 0.99.

Quality assurance metrics included accuracy measured as the percent deviation from NIST reference standard materials (RSMs 1957 and 1958, NIST, USA); recovery as the percent of spike recovery; and precision as the percentage coefficient of variation of multiple sample analyses, calculated for all chemicals in the RSM. Both methods achieved acceptance criteria of ±25% for most analytes, e.g., Method B attained an accuracy of 12 ± 8% for OCPs and PBDEs and 16 ± 15% for PCBs; and spike recoveries averaged 92 ± 6% for the OCPs and PBDEs and 82 ± 5% for PCBs. Accuracy was slightly lower but still acceptable for the RSM 1957, which is a low concentration and unspiked material; this RSM 1957 is rarely used or reported for this purpose but served as an independent check. The limit of detection (LOD) was estimated as the instrumental detection limit (amount of analyte detected with a signal-to-noise ratio of three) and the preconcentration factor. LODs for OCPs and PBDEs averaged 0.006 ± 0.007 ng/L and 0.003 ± 0.002 ng/mL for PCBs. Nondetections were set to LOD/√2 (Supplementary Table S1 provides LODs).

# Supplementary Tables

## Supplementary Table S1. Persistent organic pollutants (ng/mL)

Abbreviations: POP, persistent organic pollutant; PBDE, polybrominated diphenyl ether; PCB, polychlorinated biphenyl; HCB, hexachlorobenzene; PeCB, pentachlorobenzene; DDE, dichlorodiphenyldichloroethylene; LOD, limit of detection.

|  |  | Cases |  |  |  |  |  |  |  | Controls |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| POP | % < LOD | N | Mean | SD | Min | Q25 | Q50 | Q75 | Max | N | Mean | SD | Min | Q25 | Q50 | Q75 | Max | P-Value | Q-Value (BH) |
| alpha-HCH | 34.9 | 164 | 0.009 | 0.054 | 0.001 | 0.001 | 0.004 | 0.007 | 0.697 | 105 | 0.003 | 0.003 | 0.001 | 0.001 | 0.002 | 0.005 | 0.017 | 0.005 | 0.010 |
| c/t-heptachlorepoxide | 2.2 | 164 | 0.020 | 0.017 | 0.002 | 0.009 | 0.014 | 0.027 | 0.102 | 105 | 0.013 | 0.009 | 0.002 | 0.006 | 0.011 | 0.017 | 0.051 | 0.000 | 0.001 |
| cis-Nonachlor | 29.6 | 164 | 0.020 | 0.050 | 0.003 | 0.003 | 0.009 | 0.017 | 0.559 | 105 | 0.008 | 0.008 | 0.003 | 0.003 | 0.006 | 0.010 | 0.056 | 0.001 | 0.003 |
| gamma-HCH | 33.8 | 164 | 0.050 | 0.199 | 0.001 | 0.001 | 0.011 | 0.042 | 1.909 | 105 | 0.016 | 0.024 | 0.001 | 0.001 | 0.005 | 0.022 | 0.125 | 0.013 | 0.021 |
| HCB | 2.2 | 164 | 0.141 | 0.111 | 0.001 | 0.059 | 0.110 | 0.190 | 0.563 | 105 | 0.106 | 0.096 | 0.001 | 0.047 | 0.088 | 0.138 | 0.743 | 0.009 | 0.015 |
| Mirex | 1.9 | 164 | 0.156 | 1.427 | 0.002 | 0.015 | 0.024 | 0.043 | 18.287 | 105 | 0.382 | 3.669 | 0.002 | 0.012 | 0.018 | 0.025 | 37.615 | 0.000 | 0.001 |
| Oxychlordane | 27.4 | 164 | 0.062 | 0.056 | 0.007 | 0.007 | 0.050 | 0.089 | 0.270 | 105 | 0.037 | 0.035 | 0.007 | 0.007 | 0.021 | 0.058 | 0.185 | 0.000 | 0.002 |
| PBDE-100 | 17.7 | 164 | 0.020 | 0.042 | 0.002 | 0.004 | 0.008 | 0.014 | 0.360 | 105 | 0.012 | 0.018 | 0.002 | 0.003 | 0.007 | 0.013 | 0.129 | 0.084 | 0.112 |
| PBDE-153 | 8.3 | 164 | 0.094 | 0.259 | 0.004 | 0.016 | 0.030 | 0.064 | 2.903 | 105 | 0.060 | 0.184 | 0.004 | 0.010 | 0.023 | 0.043 | 1.747 | 0.008 | 0.014 |
| PBDE-47 | 6.9 | 164 | 0.090 | 0.203 | 0.004 | 0.019 | 0.037 | 0.070 | 2.114 | 105 | 0.067 | 0.136 | 0.004 | 0.014 | 0.032 | 0.068 | 1.116 | 0.158 | 0.183 |
| PBDE-99 | 36.3 | 164 | 0.019 | 0.048 | 0.003 | 0.003 | 0.007 | 0.012 | 0.448 | 105 | 0.012 | 0.024 | 0.003 | 0.003 | 0.006 | 0.010 | 0.197 | 0.112 | 0.140 |
| PeCB | 48.5 | 164 | 0.013 | 0.013 | 0.006 | 0.006 | 0.006 | 0.016 | 0.083 | 105 | 0.012 | 0.010 | 0.006 | 0.006 | 0.006 | 0.013 | 0.063 | 0.534 | 0.550 |
| PCB-105 | 26.1 | 164 | 0.011 | 0.018 | 0.001 | 0.002 | 0.006 | 0.013 | 0.179 | 105 | 0.009 | 0.011 | 0.001 | 0.001 | 0.005 | 0.011 | 0.076 | 0.261 | 0.294 |
| PCB-11 | 34.6 | 164 | 0.012 | 0.014 | 0.002 | 0.002 | 0.008 | 0.016 | 0.089 | 105 | 0.011 | 0.011 | 0.002 | 0.002 | 0.007 | 0.016 | 0.052 | 0.470 | 0.497 |
| PCB-118 | 11.3 | 164 | 0.059 | 0.098 | 0.001 | 0.018 | 0.036 | 0.062 | 0.930 | 105 | 0.040 | 0.043 | 0.001 | 0.012 | 0.032 | 0.049 | 0.241 | 0.096 | 0.123 |
| PCB-138 | 1.6 | 164 | 0.186 | 0.163 | 0.002 | 0.078 | 0.135 | 0.254 | 0.965 | 105 | 0.127 | 0.124 | 0.002 | 0.051 | 0.100 | 0.157 | 1.033 | 0.002 | 0.005 |
| PCB-153 | 2.5 | 164 | 0.237 | 0.208 | 0.001 | 0.094 | 0.170 | 0.329 | 1.168 | 105 | 0.166 | 0.157 | 0.001 | 0.065 | 0.139 | 0.233 | 1.339 | 0.007 | 0.012 |
| PCB-156 | 1.6 | 164 | 0.050 | 0.046 | 0.002 | 0.020 | 0.037 | 0.066 | 0.312 | 105 | 0.037 | 0.053 | 0.002 | 0.014 | 0.029 | 0.045 | 0.512 | 0.005 | 0.009 |
| PCB-157 | 6.0 | 164 | 0.014 | 0.014 | 0.001 | 0.005 | 0.009 | 0.018 | 0.078 | 105 | 0.009 | 0.012 | 0.001 | 0.003 | 0.006 | 0.011 | 0.108 | 0.001 | 0.003 |
| PCB-167 | 22.8 | 164 | 0.009 | 0.010 | 0.002 | 0.003 | 0.006 | 0.012 | 0.070 | 105 | 0.006 | 0.006 | 0.002 | 0.002 | 0.004 | 0.007 | 0.041 | 0.014 | 0.021 |
| PCB-170 | 1.6 | 164 | 0.093 | 0.073 | 0.002 | 0.042 | 0.073 | 0.127 | 0.421 | 105 | 0.069 | 0.066 | 0.002 | 0.030 | 0.053 | 0.080 | 0.430 | 0.001 | 0.003 |
| PCB-178 | 14.6 | 164 | 0.013 | 0.013 | 0.001 | 0.005 | 0.009 | 0.019 | 0.089 | 105 | 0.011 | 0.014 | 0.001 | 0.004 | 0.008 | 0.011 | 0.090 | 0.023 | 0.033 |
| PCB-180 | 0.8 | 164 | 0.213 | 0.173 | 0.003 | 0.101 | 0.165 | 0.271 | 1.015 | 105 | 0.147 | 0.123 | 0.003 | 0.068 | 0.121 | 0.184 | 0.842 | 0.000 | 0.002 |
| PCB-187 | 14.3 | 164 | 0.041 | 0.044 | 0.005 | 0.011 | 0.026 | 0.055 | 0.304 | 105 | 0.032 | 0.035 | 0.005 | 0.010 | 0.022 | 0.040 | 0.217 | 0.132 | 0.158 |
| PCB-189 | 41.5 | 164 | 0.004 | 0.003 | 0.002 | 0.002 | 0.004 | 0.006 | 0.019 | 105 | 0.003 | 0.003 | 0.002 | 0.002 | 0.002 | 0.004 | 0.018 | 0.003 | 0.006 |
| PCB-194 | 6.0 | 164 | 0.056 | 0.048 | 0.005 | 0.025 | 0.042 | 0.067 | 0.280 | 105 | 0.038 | 0.035 | 0.005 | 0.016 | 0.030 | 0.043 | 0.206 | 0.000 | 0.001 |
| PCB-199 | 5.2 | 164 | 0.046 | 0.040 | 0.005 | 0.023 | 0.034 | 0.054 | 0.236 | 105 | 0.034 | 0.035 | 0.005 | 0.016 | 0.027 | 0.039 | 0.244 | 0.002 | 0.005 |
| PCB-202 | 13.7 | 164 | 0.011 | 0.011 | 0.002 | 0.005 | 0.008 | 0.014 | 0.071 | 105 | 0.008 | 0.009 | 0.002 | 0.003 | 0.006 | 0.009 | 0.056 | 0.002 | 0.005 |
| PCB-206 | 8.5 | 164 | 0.027 | 0.035 | 0.001 | 0.010 | 0.018 | 0.031 | 0.327 | 105 | 0.017 | 0.019 | 0.001 | 0.008 | 0.013 | 0.019 | 0.159 | 0.000 | 0.001 |
| PCB-208 | 15.4 | 164 | 0.010 | 0.011 | 0.001 | 0.003 | 0.006 | 0.011 | 0.086 | 105 | 0.006 | 0.006 | 0.001 | 0.003 | 0.004 | 0.007 | 0.044 | 0.002 | 0.005 |
| PCB-209 | 13.2 | 164 | 0.016 | 0.019 | 0.001 | 0.005 | 0.010 | 0.017 | 0.139 | 105 | 0.008 | 0.008 | 0.001 | 0.003 | 0.006 | 0.010 | 0.048 | 0.000 | 0.001 |
| PCB-28/31 | 16.2 | 164 | 0.005 | 0.006 | 0.001 | 0.002 | 0.003 | 0.007 | 0.055 | 105 | 0.006 | 0.008 | 0.001 | 0.001 | 0.004 | 0.006 | 0.065 | 0.774 | 0.774 |
| PCB-74 | 5.2 | 164 | 0.046 | 0.052 | 0.002 | 0.015 | 0.031 | 0.053 | 0.355 | 105 | 0.032 | 0.027 | 0.002 | 0.011 | 0.025 | 0.046 | 0.124 | 0.042 | 0.058 |
| PCB-8 | 22.0 | 164 | 0.007 | 0.008 | 0.001 | 0.002 | 0.005 | 0.009 | 0.047 | 105 | 0.006 | 0.007 | 0.001 | 0.001 | 0.004 | 0.009 | 0.033 | 0.399 | 0.435 |
| p,p'-DDE | 0.0 | 164 | 1.358 | 1.743 | 0.044 | 0.462 | 0.754 | 1.471 | 13.747 | 105 | 0.777 | 0.711 | 0.118 | 0.305 | 0.582 | 0.903 | 4.615 | 0.000 | 0.002 |
| trans-Nonachlor | 0.0 | 164 | 0.117 | 0.109 | 0.006 | 0.051 | 0.083 | 0.138 | 0.851 | 105 | 0.065 | 0.045 | 0.007 | 0.034 | 0.052 | 0.082 | 0.264 | 0.000 | 0.000 |

## Supplementary Table S2. Matched ALS and Control Participant Demographics

| Covariate | Cases (N = 76) | Controls (N = 41) |
| --- | --- | --- |
| Age at sample collection (years) | 63.1 (58.8-68.2) | 63.3 (59.2-67.5) |
| Body Mass Index (kg/m2)* | 26.0 (23.0-30.1) | 26.2 (23.4-29.6) |
| Sex |  |  |
| Female | 39 (51.3) | 26 (63.4) |
| Male | 37 (48.7) | 15 (36.6) |
| Military Service |  |  |
| No | 70 (92.1) | 33 (80.5) |
| Yes | 4 (5.3) | 4 (9.8) |
| Missing | 2 (2.6) | 4 (9.8) |
| Education |  |  |
| High School or Less | 23 (30.3) | 4 (9.8) |
| Some Postsecondary | 27 (35.5) | 9 (22.0) |
| Bachelor’s Degree | 15 (19.7) | 11 (26.8) |
| Graduate Degree | 9 (11.8) | 13 (31.7) |
| Missing | 2 (2.6) | 4 (9.8) |
| Race |  |  |
| American Indian / Alaska Native | 0 (0.0) | 0 (0.0) |
| Asian | 1 (1.3) | 0 (0.0) |
| Black or African American | 1 (1.3) | 1 (2.4) |
| White | 74 (97.4) | 40 (97.6) |
| Unreported | 0 (0.0) | 0 (0.0) |
| ALSFRS-R | 36 (30-40) |  |
| Time Between Symptom Onset and Diagnosis (Years) | 1.04 (0.71-1.70) |  |
| Time Between Diagnosis and Sample Acquisition (Years) | 0.48 (0.31-0.95) |  |
| Observed Death |  |  |
| Yes | 67 (88.2) |  |
| No | 9 (11.8) |  |
| El Escorial Criteria |  |  |
| Possible / Suspected | 12 (15.8) |  |
| Probable, Lab Supported | 15 (19.7) |  |
| Probable | 23 (30.3) |  |
| Definite | 26 (34.2) |  |
| Onset Segment |  |  |
| Bulbar | 29 (38.2) |  |
| Cervical | 24 (31.6) |  |
| Lumbar | 23 (30.3) |  |
| Cannot be Determined | 0 (0.0) |  |

Table of descriptive statistics for the study population. For continuous variables, median (25th – 75th percentile), and for categorical variables, N (%). *Body Mass Index is observed for 73 cases and 36 controls. ALSFRS-R, revised amyotrophic lateral sclerosis functional rating scale.

# Supplementary Figures

## Supplementary Figure S1. Distribution of ERSrisk by ALS and control

Distribution of the ERSrisk by ALS and control group. ERS, environmental risk score.

## Supplementary Figure S2. Matched cohort adjusted single pollutant and mixture associations between POPs and case/control status

Single POP logistic regression models where the outcome is case/control status using matching on age and sex. The variables of interest are log-transformed standardized POP concentrations, and the covariates are education, continuous BMI, and continuous BMI slope. Abbreviations: BH, Benjamini-Hochberg; BMI, body mass index; CI, confidence interval; DDE, dichlorodiphenyldichloroethylene; ERS, environmental risk score; HCB, hexachlorobenzene; HR, hazard ratio; OCP, organochlorine pesticide; PBDE, polybrominated diphenyl ether; PCB, polychlorinated biphenyl; PeCB, pentachlorobenzene; POP, persistent organic pollutant.

## Supplementary Figure S3. Cohort contour survival plot

Contour survival plot indicating the survival time from diagnosis based on environmental risk score, visualized and grouped by survival probability (S(t)).

Abbreviations: ERS, environmental risk score; IQR, interquartile range; S(t), survival probability.

## Supplementary Figure S4. Adjusted survival curves by ERS quartile

Dashed lines indicate the median survival in each environmental risk score (ERS) strata. The estimated adjusted median survival time is 2.26 years for Quartile 1, 2.24 years for Quartile 2, 1.68 years for Quartile 3, and 1.38 years for Quartile 4. With Quartile 1 as the reference, hazard ratios and 95% confidence intervals by quartile are as follows: Quartile 2 (HR = 1.01, 95% CI 0.59-1.75, p = 0.960); Quartile 3 (HR = 1.65, 95% CI 0.95-2.86, p = 0.075); Quartile 4 (HR = 2.31, 95% CI 1.30-4.13, p = 0.005).