# Supplemental Tables and Figures

# Heat Inactivation of Aqueous Viable Norovirus and MS2 Bacteriophage

# Marlee Shaffera, Kimberly Huynhb, Veronica Costantinib, Kyle Bibbya*, and Jan Vinjéb*

13 Pages, 10 Tables, 3 Figures

Figure S1: Heat Inactivation of Norovirus

Figure S2: Net Increase of Norovirus with Heat Inactivation

Table S1: Time points selected for each temperature for MS2 Bacteriophage and Norovirus

Table S2: Primers, Probes, and Thermocycling Conditions

Table S3: MS2 Bacteriophage Data for 50°C

Table S4: MS2 Bacteriophage Data for 60°C

Table S5: MS2 Bacteriophage Data for 70°C

Table S6: Human Norovirus Data for 50°C

Table S7: Human Norovirus Data for 60°C

Table S8: Human Norovirus Data for 70°C

Figure S3: Annealing Temperature Optimization of MS2 Bacteriophage Assay

Table S9: dMIQE Checklist for MS2 Bacteriophage RT-ddPCR

Table S10: MIQE Checklist for Norovirus RT-qPCR

Heat Inactivation of Norovirus

The human intestinal enteroid (HIE) assay was used to evaluate the inactivation kinetics of viable norovirus when exposed to heat. Figure S1 depicts the RT-qPCR data for 1-hour post infection, 72-hour post infection, and input virus for each time point for the temperatures tested, 50°C, 60°C, and 70°C. The input virus represents the level of virus taken directly from each sample tube at the specified time point and also indicates the level of virus being added to the HIE assay from the samples did not differ across experiments. The net increase of norovirus replication is shown by the quotient of the 72-hour post infection RT-qPCR concentration and the 1-hour post infection RT-qPCR concentration. The net increase for each temperature and time point is shown in Figure S2. As the experiments increased in temperature, norovirus replication decreased over time, resulting in samples with no replication. The input virus had no significant change over any of the experimental temperatures.

Figure S1 Heat Inactivation of norovirus. The columns show the different experimental temperatures, and the rows of plots show the genome copies per mL for 1 hour post infection, 72 hours post infection, and for the input virus for the HIE assay. Each point shows the mean of all the technical replicates (n = 6) and the error bars show the standard deviation.

Figure S2: Net Increase of norovirus RNA in the HIE assay with Heat Inactivation. Each panel shows a different experimental temperature, with time in minutes on the x-axis and genome copies per mL on the y-axis. The input virus from the first and last time point is shown in blue and the net increase from the 1-hour post infection to 72-hours post infection is shown in red. The horizontal line indicates whether replication occurred in the HIE assay. Each point shows the mean of all the technical replicates (n = 6) and the error bar show the standard deviation.

Table S1: Time points selected for each temperature for MS2 Bacteriophage and Norovirus

| Temperature | MS2 Bacteriophage Time Points (min) | Human Norovirus Time Points (min) |
| --- | --- | --- |
| 50°C | 0.5, 5, 10, 15, 20, 30, 40, 50, 60, 90, 120 | 0, 5, 10, 15, 20 |
| 60°C | 0.5, 5, 10, 15, 20, 30, 40, 50, 60, 90, 120 | 0, 2.5, 5, 7.5, 10 |
| 70°C | 0.5, 1, 3, 5, 7, 10, 15, 30, 60 | 0, 0.5, 1, 1.5, 2, 5 |

Table S2: Oligonucleotide primers, probes, and thermocycling conditions used in this study

| Target |  | Sequences | Manufacturer | Final reaction concentration (nM) | Thermal Cycling Conditions | Molecular Method Used | Reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Norovirus GI | F | CGY TGG ATG CGI TTY CAT GA | IDT | 400 | 45°C for 10 min for RT, 95°C for 10 min, and 45 cycles of 95°C for 15 sec, 60°C for 1 min | RT-qPCR | (Trujillo et al., 2006) |
|  | R | CTT AGA CGC CAT CAT TYA C | IDT | 400 |  |  |  |
|  | P | FAM-TGG ACA GGR GAY CGC -MGBNFQ | ABI | 200 |  |  |  |
| Norovirus GII | F | CAR GAR BCN ATG TTY AGR TGG ATG AG | IDT | 400 |  | RT-qPCR | (Trujillo et al., 2006) |
|  | R | TCG ACG CCA TCT TCA TTC ACA | IDT | 400 |  |  |  |
|  | P | Cy5-TGG GAG GGC GAT CGC AAT CT-BHQ2 | IDT | 200 |  |  |  |
| MS2 (Internal Control) | F | TGG CAC TAC CCC TCT CCG TAT TCA CG | IDT | 100 |  | RT-qPCR | (Park et al., 2017) |
|  | R | GTA CGG GCG ACC CCA CGA TGA C | IDT | 100 |  |  |  |
|  | P | HEX-CAC ATC GAT AGA TCA AGG TGC CTA CAAGC-BHQ1 | IDT | 100 |  |  |  |
| MS2 | F | TCG ATG GTC CAT ACC TTA GAT GC | IDT | 900 | 50°C for 60 min for RT, 90°C for 10 min, 45 cycles of 95°C for 30 sec and 58°C for 1 min, 98°C for 10 mins | RT-ddPCR | (Brié et al., 2016) |
|  | R | ACC CCG TTA GCG AAG TTG CT | IDT | 900 |  |  |  |
|  | P | FAM-CTCGTCGACAATGG-MGBNFQ | Applied Biosciences | 250 |  |  |  |

Table S3: MS2 Bacteriophage Data for 50°C

| Time (min) | Culture-Based Mean Concentration (St. Dev) (PFU/mL) | Molecular-Based Mean Concentration (St. Dev) (Genome copies/mL) |
| --- | --- | --- |
| 0.0 | 1.00e+09 (1.00e+08) | 1.49e+08 (0.00e+00) |
| 0.5 | 8.50e+08 (1.64e+08) | 5.22e+07 (4.51e+07) |
| 5.0 | 6.50e+08 (2.42e+08) |  |
| 10.0 | 6.50e+08 (3.02e+08) |  |
| 15.0 | 1.12e+09 (2.99e+08) |  |
| 20.0 | 7.33e+08 (2.07e+08) |  |
| 30.0 | 5.33e+08 (2.88e+08) |  |
| 40.0 | 7.50e+08 (4.04e+08) |  |
| 50.0 | 6.00e+08 (2.10e+08) |  |
| 60.0 | 4.83e+08 (9.82e+07) |  |
| 90.0 | 5.67e+08 (4.32e+08) |  |
| 120.0 | 4.50e+08 (2.81e+08) | 8.01e+07 (8.19e+07) |

Table S4: MS2 Bacteriophage Data for 60°C

| Time (min) | Culture-Based Mean Concentration (St. Dev) (PFU/mL) | Molecular-Based Mean Concentration (St. Dev) (Genome copies/mL) |
| --- | --- | --- |
| 0.0 | 1.00e+09 (1.00e+08) | 1.49e+08 (0.00e+00) |
| 0.5 | 3.97e+08 (9.99e+07) | 6.73e+07 (7.45e+07) |
| 5.0 | 2.53e+08 (6.71e+08) |  |
| 10.0 | 1.78e+08 (5.00e+07) |  |
| 15.0 | 2.68e+08 (7.31e+07) |  |
| 20.0 | 1.80e+08 (1.79e+07) |  |
| 30.0 | 8.00e+07 (1.79e+07) |  |
| 40.0 | 5.67e+07 (2.25e+07) |  |
| 50.0 | 5.06e+07 (1.08e+07) |  |
| 60.0 | 2.53e+07 (1.12e+07) |  |
| 90.0 | 7.00e+06 (3.90e+06) |  |
| 120.0 | 2.71e+06 (3.66e+05) | 3.82e+07 (0.00e+00) |

Table S5: MS2 Bacteriophage Data for 70°C

| Time (min) | Culture-Based Mean Concentration (St. Dev) (PFU/mL) | Molecular-Based Mean Concentration (St. Dev) (Genome copies/mL) |
| --- | --- | --- |
| 0.0 | 1.00e+09 (1.00e+08) | 1.49e+08 (0.00e+00) |
| 0.5 | 6.40e+08 (3.49e+08) | 6.05e+07 (0.00e+00) |
| 1.0 | 1.18e+07 (3.65e+06) |  |
| 3.0 | 2.78e+06 (1.72e+06) |  |
| 5.0 | 9.23e+06 (1.00e+07) |  |
| 7.0 | 1.41e+07 (2.10e+06) |  |
| 10.0 | 3.20e+06 (3.87e+06) |  |
| 15.0 | 1.85e+06 (4.10e+05) |  |
| 30.0 | 1.70e+06 (3.67e+05) |  |
| 60.0 | 2.67e+03 (8.16e+02) | 2.59e+07 (2.83e+07) |

Table S6: Human Norovirus Data for 50°C

| Time (min) | Time Post Infection | Molecular-Based Mean Concentration (St. Dev) (Genome copies/mL) | Net Increase from 1 hpi to 72 hpi (St. Dev) |
| --- | --- | --- | --- |
| 0.0 | Input | 1.78e+07 (7.61e+06) | 1.17e+02 (1.64e+02) |
|  | 1 hpi | 1.80e+05 (8.19e+04) |  |
|  | 72 hpi | 2.11e+07 (1.34e+07) |  |
| 5.0 | 1 hpi | 2.47e+05 (8.06e+04) | 9.64e+01 (1.21e+01) |
|  | 72 hpi | 2.38e+07 (9.72e+06) |  |
| 10.0 | 1 hpi | 2.91e+05 (1.06e+05) | 1.02e+01 (3.32e+01) |
|  | 72 hpi | 2.98e+06 (3.52e+06) |  |
| 15.0 | 1 hpi | 3.25e+05 (2.08e+05) | 1.34e+01 (2.86e+01) |
|  | 72 hpi | 4.34e+06 (5.94e+06) |  |
| 20.0 | Input | 1.41e+07 (3.19e+06) | 8.99e-01 (1.13e+00) |
|  | 1 hpi | 3.77e+05 (1.48e+05) |  |
|  | 72 hpi | 3.39e+05 (1.67e+05) |  |

Table S7: Human Norovirus Data for 60°C

| Time (min) | Time Post Infection | Molecular-Based Mean Concentration (St. Dev) (Genome copies/mL) | Increase from 1 hpi to 72 hpi (St. Dev) |
| --- | --- | --- | --- |
| 0.0 | Input | 1.68e+07 (7.00e+06) | 2.04e+02 (4.43e+02) |
|  | 1 hpi | 1.66e+05 (1.03e+05) |  |
|  | 72 hpi | 3.38e+07 (4.56e+07) |  |
| 2.5 | 1 hpi | 2.56e+05 (5.69e+04) | 1.24e+02 (6.92e+02) |
|  | 72 hpi | 3.17e+07 (3.94e+07) |  |
| 5.0 | 1 hpi | 2.27e+05 (4.31e+04) | 2.44e+01 (1.51e+02) |
|  | 72 hpi | 5.53e+06 (6.52e+06) |  |
| 7.5 | 1 hpi | 3.36e+05 (1.34e+05) | 5.30e-01 (2.07e-01) |
|  | 72 hpi | 1.78e+05 (2.78e+04) |  |
| 10.0 | Input | 9.26e+06 (9.23e+04) | 6.12e-01 (4.33e-01) |
|  | 1 hpi | 1.13e+05 (1.00e+05) |  |
|  | 72 hpi | 6.92e+04 (4.33e+04) |  |

Table S8: Human Norovirus Data for 70°C

| Time (min) | Time Post Infection | Molecular-Based Mean Concentration (St. Dev) (Genome copies/mL) | Increase from 1 hpi to 72 hpi (St. Dev) |
| --- | --- | --- | --- |
| 0.0 | Input | 2.15e+07 (1.89e+06) | 1.13e+02 (2.56e+02) |
|  | 1 hpi | 2.49e+05 (4.45e+04) |  |
|  | 72 hpi | 2.81e+07 (1.14e+07) |  |
| 0.5 | 1 hpi | 1.97e+05 (6.50e+04) | 2.34e+02 (4.55e+02) |
|  | 72 hpi | 4.61e+07 (2.96e+07) |  |
| 1.0 | 1 hpi | 2.28e+05 (5.84e+04) | 1.94e+02 (6.27e+02) |
|  | 72 hpi | 4.43e+07 (3.66e+07) |  |
| 1.5 | 1 hpi | 2.96e+04 (9.83e+03) | 1.71e+02 (1.00e+02) |
|  | 72 hpi | 5.07e+07 (9.84e+05) |  |
| 2.0 | 1 hpi | 2.32e+05 (4.51e+04) | 1.56e+02 (6.98e+02) |
|  | 72 hpi | 3.61e+07 (3.15e+07) |  |
| 5.0 | Input | 1.07e+07 (3.30e+06) | 8.02e-01 (1.34e+00) |
|  | 1 hpi | 3.03e+05 (7.06e+04) |  |
|  | 72 hpi | 2.43e+05 (9.47e+04) |  |

Table S9: dMIQE Checklist for MS2 Bacteriophage RT-ddPCR

| ITEM TO CHECK | PROVIDED | COMMENT |
| --- | --- | --- |
| Column1 | Y/N | Column2 |
| 1. SPECIMEN |  |  |
| Detailed description of specimen type and numbers | Y | METHODS |
| Sampling procedure (including time to storage) | Y | METHODS |
| Sample aliquotation, storage conditions and duration | Y | METHODS |
| 2. NUCLEIC ACID EXTRACTION |  |  |
| Description of extraction method including amount of sample processed | Y | METHODS |
| Volume of solvent used to elute/resuspend extract | Y | METHODS |
| Number of extraction replicates | N | ND |
| Extraction blanks included? | Y | METHODS |
| 3. NUCLEIC ACID ASSESSMENT AND STORAGE |  |  |
| Method to evaluate quality of nucleic acids | N | ND |
| Method to evaluate quantity of nucleic acids (including molecular weight and calculations when using mass) | N | ND |
| Storage conditions: temperature, concentration, duration, buffer, aliquots | Y | METHODS |
| Clear description of dilution steps used to prepare working DNA solution | Y | METHODS |
| 4. NUCLEIC ACID MODIFICATION |  |  |
| Template modification (digestion, sonication, pre-amplification, bisulphite etc.) | N | N/A |
| Details of repurification following modification if performed | N | N/A |
| 5. REVERSE TRANSCRIPTION |  |  |
| cDNA priming method and concentration | N | N/A |
| One or two step protocol (include reaction details for two step) | Y | METHODS |
| Amount of RNA added per reaction | Y | METHODS |
| Detailed reaction components and conditions | Y | METHODS |
| Estimated copies measured with and without addition of RT* | N | ND |
| Manufacturer of reagents used with catalogue and lot numbers | Y | METHODS |
| Storage of cDNA: temperature, concentration, duration, buffer and aliquots | N | N/A |
| 6. dPCR OLIGONUCLEOTIDES DESIGN AND TARGET INFORMATION |  |  |
| Sequence accession number or official gene symbol | N | REFERENCE |
| Method (software) used for design and in silico verification | N | REFERENCE |
| Location of amplicon | N | REFERENCE |
| Amplicon length | N | REFERENCE |
| Primer and probe sequences (or amplicon context sequence)** | N | REFERENCE |
| Location and identity of any modifications | N | REFERENCE |
| Manufacturer of oligonucleotides | Y | SI |
| 7. dPCR PROTOCOL |  |  |
| Manufacturer of dPCR instrument and instrument model | Y | METHODS |
| Buffer/kit manufacturer with catalogue and lot number | Y | METHODS |
| Primer and probe concentration | Y | SI |
| Pre-reaction volume and composition (incl. amount of template and if restriction enzyme added) | Y | METHODS |
| Template treatment (initial heating or chemical denaturation) | N | N/A |
| Polymerase identity and concentration, Mg++ and dNTP concentrations*** | Y | METHODS |
| Complete thermocycling parameters | Y | SI |
| 8. ASSAY VALIDATION |  |  |
| Details of optimisation performed | Y | SI |
| Analytical specificity (vs. related sequences) and limit of blank (LOB) | N | ND |
| Analytical sensitivity/LoD and how this was evaluated | N | ND |
| Testing for inhibitors (from biological matrix/extraction) | N | N/A |
| 9. DATA ANALYSIS |  |  |
| Description of dPCR experimental design | Y | METHODS |
| Comprehensive details negative and positive of controls (whether applied for QC or for estimation of error) | Y | METHODS |
| Partition classification method (thresholding) | Y | METHODS |
| Examples of positive and negative experimental results (including fluorescence plots in supplemental material) | Y | N/A |
| Description of technical replication | N | N/A |
| Repeatability (intra-experiment variation) | N | ND |
| Reproducibility (inter-experiment/user/lab etc. variation ) | N | ND |
| Number of partitions measured (average and standard deviation ) | N |  |
| Partition volume | N |  |
| Copies per partition (λ or equivalent ) (average and standard deviation) | N |  |
| dPCR analysis program (source, version) | Y | METHODS |
| Description of normalisation method | N | NA |
| Statistical methods used for analysis | Y | METHODS/ RESULTS |
| Data transparency | Y | SI |

Table S10: MIQE Checklist for norovirus RT-qPCR. E stands for essential information that has been provided within the manuscript, D stands for desirable information provided within the manuscript.

| ITEM TO CHECK | IMPORTANCE | CHECKLIST |
| --- | --- | --- |
| EXPERIMENTAL DESIGN |  |  |
| Definition of experimental and control groups | E | METHODS |
| Number within each group | E | METHODS |
| Assay carried out by core lab or investigator's lab? | D |  |
| Acknowledgement of authors' contributions | D |  |
| SAMPLE |  |  |
| Description | E | METHODS |
| Volume/mass of sample processed | D | METHODS |
| Microdissection or macrodissection | E |  |
| Processing procedure | E |  |
| If frozen - how and how quickly? | E | METHODS |
| If fixed - with what, how quickly? | E | N/A |
| Sample storage conditions and duration (especially for FFPE samples) | E | METHODS |
| NUCLEIC ACID EXTRACTION |  |  |
| Procedure and/or instrumentation | E | METHODS |
| Name of kit and details of any modifications | E | METHODS |
| Source of additional reagents used | D | N/A |
| Details of DNase or RNAse treatment | E | N/A |
| Contamination assessment (DNA or RNA) | E | N/A |
| Nucleic acid quantification | E | ND |
| Instrument and method | E | ND |
| Purity (A260/A280) | D | ND |
| Yield | D | ND |
| RNA integrity method/instrument | E | ND |
| RIN/RQI or Cq of 3' and 5' transcripts | E | ND |
| Electrophoresis traces | D | ND |
| Inhibition testing (Cq dilutions, spike or other) | E | ND |
| REVERSE TRANSCRIPTION |  |  |
| Complete reaction conditions | E | METHODS & SI |
| Amount of RNA and reaction volume | E |  |
| Priming oligonucleotide (if using GSP) and concentration | E | N/A |
| Reverse transcriptase and concentration | E | METHODS |
| Temperature and time | E | SI |
| Manufacturer of reagents and catalogue numbers | D |  |
| Cqs with and without RT | D | N/A |
| Storage conditions of cDNA | D | N/A |
| qPCR TARGET INFORMATION |  |  |
| If multiplex, efficiency and LOD of each assay. | E | METHODS |
| Sequence accession number | E |  |
| Location of amplicon | D |  |
| Amplicon length | E |  |
| In silico specificity screen (BLAST, etc) | E |  |
| Pseudogenes, retropseudogenes or other homologs? | D |  |
| Sequence alignment | D |  |
| Secondary structure analysis of amplicon | D |  |
| Location of each primer by exon or intron (if applicable) | E |  |
| What splice variants are targeted? | E |  |
| qPCR OLIGONUCLEOTIDES |  |  |
| Primer sequences | E | SI |
| RTPrimerDB Identification Number | D | N/A |
| Probe sequences | E | SI |
| Location and identity of any modifications | E | N/A |
| Manufacturer of oligonucleotides | D | SI |
| Purification method | D | N/A |
| qPCR PROTOCOL |  |  |
| Complete reaction conditions | E | METHODS |
| Reaction volume and amount of cDNA/DNA | E | METHODS |
| Primer, (probe), Mg++ and dNTP concentrations | E | SI |
| Polymerase identity and concentration | E | METHODS |
| Buffer/kit identity and manufacturer | E | METHODS |
| Exact chemical constitution of the buffer | D | ND |
| Additives (SYBR Green I, DMSO, etc.) | E | N/A |
| Manufacturer of plates/tubes and catalog number | D | ND |
| Complete thermocycling parameters | E | SI |
| Reaction setup (manual/robotic) | D | METHODS |
| Manufacturer of qPCR instrument | E | METHODS |
| qPCR VALIDATION |  |  |
| Evidence of optimization (from gradients) | D |  |
| Specificity (gel, sequence, melt, or digest) | E |  |
| For SYBR Green I, Cq of the NTC | E |  |
| Standard curves with slope and y-intercept | E |  |
| PCR efficiency calculated from slope | E |  |
| Confidence interval for PCR efficiency or standard error | D |  |
| r2 of standard curve | E |  |
| Linear dynamic range | E |  |
| Cq variation at lower limit | E |  |
| Confidence intervals throughout range | D |  |
| Evidence for limit of detection | E |  |
| If multiplex, efficiency and LOD of each assay. | E |  |
| DATA ANALYSIS |  |  |
| qPCR analysis program (source, version) | E |  |
| Cq method determination | E |  |
| Outlier identification and disposition | E |  |
| Results of NTCs | E |  |
| Justification of number and choice of reference genes | E |  |
| Description of normalization method | E |  |
| Number and concordance of biological replicates | D |  |
| Number and stage (RT or qPCR) of technical replicates | E | METHODS |
| Repeatability (intra-assay variation) | E | N/A |
| Reproducibility (inter-assay variation, %CV) | D | N/A |
| Power analysis | D | N/A |
| Statistical methods for result significance | E | METHODS |
| Software (source, version) | E | METHODS |
| Cq or raw data submission using RDML | D | Available upon Request |

REFERENCES

Brié, A., Bertrand, I., Meo, M., Boudaud, N., and Gantzer, C. (2016). The Effect of Heat on the Physicochemical Properties of Bacteriophage MS2. Food Environ Virol 8, 251–261. doi: 10.1007/s12560-016-9248-2

Park, G. W., Chhabra, P., and Vinjé, J. (2017). Swab Sampling Method for the Detection of Human Norovirus on Surfaces. JoVE, 55205. doi: 10.3791/55205

Trujillo, A. A., McCaustland, K. A., Zheng, D.-P., Hadley, L. A., Vaughn, G., Adams, S. M., et al. (2006). Use of TaqMan Real-Time Reverse Transcription-PCR for Rapid Detection, Quantification, and Typing of Norovirus. J Clin Microbiol 44, 1405–1412. doi: 10.1128/JCM.44.4.1405-1412.2006