Supplemental Materials

Quality System Procedure: The Next-Generation Sequencing (NGS) Quality Initiative (QI)’s quality system procedure was previously described (1, 2). In short, the NGS QI collaborates with federal and non-federal partners, including the NGS QI Leadership Team, representatives from the Association of Public Health Laboratories (APHL), members of the Centers for Disease Control and Prevention (CDC), the NGS Quality Workgroup, the Technical Coordinating Committee for the Advanced Molecular Detection (AMD) Platform and NGS QI (TANQ), and partner state and local public health laboratories (PHLs), to address quality-related sequencing challenges. The NGS QI has developed a foundational quality management system (QMS) based on the Clinical and Laboratory Standards Institute's 12 Quality Systems Essentials; this QMS can be integrated into existing laboratory practices or used independently. When gaps are identified, the NGS QI creates new products and resources while ensuring that existing work is not duplicated. Product development begins with approval from the CDC NGS QI Leadership Team and follows a structured review process involving internal and external partners. Each product is overseen by a dedicated document owner and reviewed by subject matter experts. Before public release, all products are made Section 508 compliant and undergo multiple rounds of review. Additionally, published tools are regularly updated through a cyclical review process, typically every three years, with four QSEs targeted for review and gap analysis per year to keep pace with changing standards and policies. NGS QI partners continuously identify quality gaps, seek out existing resources, and develop practical solutions to address emerging challenges (e.g., new platforms).

Once published, NGS QI resources can be sorted by most recently updated or filtered by sequencing platform, QSE, and other criteria. For example, users can select among three NGS quality maturity levels: Emerging (laboratories with no or limited quality management in place or those developing a QMS), Progressing (laboratories with externally regulated activities but critical gaps), and Established (laboratories with a monitored and sustainable QMS that meets regulatory requirements).

The Emerging category filters resources intended as a starter toolkit, including assessment tools and user guides, validation templates (e.g., NGS method validation plan, SOP, and summary report), pre-installation and equipment checklists for multiple sequencers, bioinformatics documentation and containerization guidance, training SOPs, and starter inventory and records templates.

At the Progressing maturity level, laboratories move beyond ad hoc practices to implement foundational quality management elements. Key processes are documented, basic competency training is established, and critical equipment and supplies are controlled. Quality metrics and corrective-action procedures are collected and applied; however, their use for routine trend analysis and proactive risk mitigation is inconsistent, limiting full reproducibility and optimization across workflows.

Within the Established maturity level, laboratories maintain a comprehensive and consistently implemented QMS, which includes standardized SOPs, routine validation and verification practices, and documented competency programs for all relevant personnel. Performance metrics are regularly analyzed to support proactive risk management and continuous improvement, resulting in reliable, reproducible assay performance across workflows.

Although the NGS QI does not provide direct support to international users, the Initiative may provide indirect technical support through U.S. partners who collaborate with international laboratories.

1. 	Hutchins RJ, Phan KL, Saboor A, Miller JD, Muehlenbachs A. 2019. Practical Guidance to Implementing Quality Management Systems in Public Health Laboratories Performing Next-Generation Sequencing: Personnel, Equipment, and Process Management (Phase 1). J Clin Microbiol 57.

2. 	Cherney B, Diaz A, Chavis C, Ghattas C, Evans D, Arambula D, Stang H. 2025. The Next-Generation Sequencing Quality Initiative and Challenges in Clinical and Public Health Laboratories. Emerg Infect Dis 31.

Table S1. https://www.cdc.gov/lab-quality/php/ngs-quality-initiative/qms-tools-resources.html. Numbers are paired with numbers inside Table 1.

QSE – Personnel Management

- Bioinformatics Employee Training SOP - CLC Genomics Workbench Employee Training Form - De novo Genome Assembly Employee Training Form - Ion PGM Sequencer Competency Assessment Form - Ion PGM Sequencer Competency Assessment SOP - Ion PGM Sequencer Employee Training Form - Ion PGM Sequencer Employee Training SOP - Ion PGM Sequencer Trainer Designation Form - iSeq 100 Sequencer Employee Training Form - iSeq 100 Sequencer Employee Training SOP - MinION Sequencer Employee Training Form - MinION Sequencer Employee Training SOP - MiniSeq Sequencer Employee Training Form - MiniSeq Sequencer Employee Training SOP - MiSeq Sequencer Competency Assessment Form - MiSeq Sequencer Competency Assessment SOP - MiSeq Sequencer Employee Training Form - MiSeq Sequencer Employee Training SOP - MiSeq Sequencer Trainer Designation Form - NextSeq 500/550 Sequencer Employee Training Form - NextSeq 500/550 Sequencer Employee Training SOP - Operating in Linux Environment Employee Training Form - Preprocessing Read Quality Control Employee Training Form - Read Trimming of Next Generation Sequencing Data Training Form - Short Read Alignment Employee Training Form

QSE – Equipment Management

- Error Log for Illumina Sequencers - Error Log for Thermo Fisher Sequencers - Ion Chef Sequencer In-Use Maintenance Log - Ion Chef Sequencer Maintenance SOP - Ion OneTouch 2 Sequencer In-Use Maintenance Log - Ion OneTouch 2 Sequencer Maintenance SOP - Ion OneTouch ES Sequencer In-Use Maintenance Log - Ion OneTouch ES Sequencer Maintenance SOP - Ion PGM Sequencer In-Use Daily Maintenance Log - Ion PGM Sequencer In-Use Weekly Maintenance Log - Ion PGM Sequencer Maintenance SOP - Ion PGM Sequencer Maintenance Wash Flowchart - Ion PGM Sequencer Power-Off Maintenance Log - Ion PGM Sequencer Pre-Installation Checklist - Ion PGM Sequencer Software Update Evaluation SOP - Ion PGM Sequencer Software Update Form - iSeq 100 Sequencer In-Use Maintenance Log - iSeq 100 Sequencer Maintenance SOP - iSeq 100 Sequencer Pre-Installation Checklist - Key Criteria for Selection of Liquid Handlers for NGS - Key Criteria for Selection of NGS Equipment - MinION Mk1B Sequencer Pre-Installation Checklist - MiniSeq Sequencer In-Use Maintenance Log - MiniSeq Sequencer Maintenance SOP - MiniSeq Sequencer Pre-Installation Checklist - MiSeq Sequencer In-Use Maintenance Log - MiSeq Sequencer Maintenance SOP - MiSeq Sequencer Maintenance Wash Flowchart - MiSeq Sequencer Pre-Installation Checklist - MiSeq Sequencer Software Update Evaluation SOP - MiSeq Sequencer Software Update Form - MiSeq Sequencer Standby Maintenance Log - NextSeq 500/550 Sequencer In-Use Maintenance Log - NextSeq 500/550 Sequencer Maintenance SOP - NextSeq 500/550 Sequencer Pre-Installation Checklist - Vendor-Performed IQ-OQ Coversheet

QSE – Process Management

- Bioinformatics QC: Assembly Quality Control Guidance - Bioinformatics Analysis QC Guidance for NGS Workflows - Individualized Quality Control Plan (IQCP) Template - NGS Method Validation Plan Template - NGS Method Validation SOP - NGS Method Validation Summary Report Template - NGS MinION 1D QC Workflows Guidance - NGS MinION Rapid QC Workflows Guidance - NGS QC Guidance for Illumina Workflows - Bioinformatics QC: Pre-Analysis Quality Control (FASTQ) Procedure - SanitizeME: Host DNA Removal SOP - Sequencing QC: Quality Control and Raw Illumina Data

QSE – Information Management

- Bioinformatics Considerations for Pipeline Planning and Development - Bioinformatics Pipeline Containerization Purpose and Approaches - Bioinformatics Pipeline Documentation Standardization – Laboratory Management Briefing - Bioinformatics Pipeline Documentation Standardization – Technical Best Practices - Bioinformatics Validation Plan Template - Building an In-House Reference Database - Docker Container Requirements, Installation Execution SOP - Downloading Data from Public DNA Sequence Reference Database - File Integrity Check SHA-2 Checksum - Package and Environment Management Systems for Bioinformatics Briefing - Sequencing Data Retention and Storage Best Practices - Singularity Overview Briefing - Uploading Data to Public Reference Databases - Visualization Product

QSE – Assessments

- Bioinformatician Competency Assessment Form - Bioinformatician Competency Assessment SOP - Proficiency Testing and Alternative Assessment - QMS Assessment Tool

QSE – Continual Improvement

- Identifying and Monitoring NGS Key Performance Indicators SOP - Key Performance Indicator Development Form

QSE – Facilities and Safety Management

- Illumina iSeq 100 Waste Disposal SOP - Illumina MiniSeq Waste Disposal SOP - Illumina MiSeq Waste Disposal SOP - Illumina NextSeq 500/550 Waste Disposal SOP - Oxford Nanopore MinION Flow Cell Return Disposal Job Aid

QSE – Supplier and Inventory Management

- Inventory Management Database User Guide - Inventory Manager Tool - Summary of Inventory Management Processes

QSE – Documents and Records Management

- Documents and Records Management Job Aid

QSE – Nonconforming Event Management

- Corrective Action/Preventive Action Procedure - Identifying and Documenting Nonconforming Events - Nonconforming Event Report Closeout and Trending - Nonconforming Event Types and Common Root Causes - Root Cause Analysis (RCA) Job Aid - Root Cause Analysis Procedure

QSE – Organization and Leadership

- NGS Implementation Communication Plan Example Template - NGS Implementation Lessons Learned for Organizational Structure - NGS Laboratory Communication Plan Guide

QSE – Customer Focus

- NGS Result Report Interpretation Guide - NGS Result Report Template - NGS Trainings Resource Repository

Table S2. Total number of visits to the NGS Qualitative Initiative website by state in the U.S. from 2020 (Quarter 1) to 2025 (Quarter 2) was 47,699.

| State | Visits |  | State | Visits |  | State | Visits |
| --- | --- | --- | --- | --- | --- | --- | --- |
| AK | 201 |  | KY | 263 |  | NY | 2485 |
| AL | 252 |  | LA | 260 |  | OH | 1075 |
| AR | 93 |  | MA | 1167 |  | OK | 163 |
| AZ | 570 |  | MD | 1714 |  | OR | 320 |
| CA | 3875 |  | ME | 168 |  | PA | 1127 |
| CO | 854 |  | MI | 634 |  | RI | 82 |
| CT | 307 |  | MN | 747 |  | SC | 1033 |
| DC | 506 |  | MO | 243 |  | SD | 42 |
| DE | 314 |  | MS | 104 |  | TN | 543 |
| FL | 1305 |  | MT | 71 |  | TX | 2423 |
| GA | 14553 |  | NC | 1085 |  | UT | 346 |
| HI | 273 |  | ND | 41 |  | VA | 3057 |
| IA | 348 |  | NE | 99 |  | VT | 54 |
| ID | 108 |  | NH | 113 |  | WA | 1010 |
| IL | 1029 |  | NJ | 790 |  | WI | 604 |
| IN | 451 |  | NM | 136 |  | WV | 150 |
| KS | 129 |  | NV | 132 |  | WY | 250 |

Table S3. Total downloads of NGS Quality Initiative tools per Quality System Essential across the U.S. from 2020 (Quarter 1) to 2025 (Quarter 2) was 29,051. Detection of downloads by location was unavailable.

| Year | Personnel Management | Equipment Management | Process Management | Information Management | Assessments | Continual Improvement |
| --- | --- | --- | --- | --- | --- | --- |
| 2025 | 0 | 0 | 741 | 400 | 347 | 195 |
| 2024 | 1146 | 1241 | 1950 | 1095 | 1132 | 684 |
| 2023 | 1021 | 1097 | 1236 | 470 | 760 | 420 |
| 2022 | 946 | 973 | 1205 | 479 | 621 | 564 |
| 2021 | 928 | 894 | 1297 | 550 | 563 | 602 |
| 2020 | 460 | 743 | 738 | 112 | 194 | 145 |

| Year | Facilities and Safety Management | Supplier and Inventory Management | Documents and Records Management | Nonconforming Event Management | Organization and Leadership | Customer Focus |
| --- | --- | --- | --- | --- | --- | --- |
| 2025 | 0 | 124 | 0 | 198 | 0 | 101 |
| 2024 | 120 | 238 | 112 | 502 | 150 | 196 |
| 2023 | 130 | 155 | 32 | 295 | 49 | 73 |
| 2022 | 213 | 90 | 0 | 50 | 0 | 0 |
| 2021 | 191 | 0 | 0 | 0 | 0 | 0 |
| 2020 | 83 | 0 | 0 | 0 | 0 | 0 |