Supplementary Table 1. Xpert® HCV Test Results relative to PIS (N=985)

| ELECSYS HCV Antibody | cobas HCV | PIS Classification | Xpert® HCV | N (%) |
| --- | --- | --- | --- | --- |
| Reactive | Detecteda | Active Chronic Infection | HCV DETECTED | 111 (11.3%) |
|  |  |  | HCV NOT DETECTED | 6 (0.6%) |
|  | Not detectedb | Past/resolved infection | HCV DETECTED | 1 (0.1%) |
|  |  |  | HCV NOT DETECTED | 223 (22.6%) |
| Non-reactive | Detected | Active Acute Infection | HCV DETECTED | 3 (0.3%) |
|  |  |  | HCV NOT DETECTED | 2 (0.2%) |
|  | Not detected | Not Infected | HCV DETECTED | 1 (0.1%) |
|  |  |  | HCV NOT DETECTED | 638 (64.8%) |
| Total |  |  |  | 985 |
| a “HCV detected” result for the cobas® HCV test is reported as either: “< Titer Min”, “15 IU/mL≤ Titer < 25 IU/mL”, “25 IU/mL ≤ Titer ≤ Titer Max”, or “> Titer Max”. The analytical interpretation for “<Titer Min” is HCV RNA detected but not quantified. b “HCV not detected” result for the cobas® HCV test is reported as “Target Not Detected”. The analytical interpretation for “Target Not Detected” is HCV RNA not detected. |  |  |  |  |