	
	
	



Supplementary Table 1. Xpert® HCV Test Results relative to PIS (N=985)
	ELECSYS HCV Antibody
	cobas HCV
	PIS Classification
	Xpert® HCV
	N (%)

	Reactive
	Detecteda
	Active Chronic Infection
	HCV DETECTED
	111 (11.3%)

	
	
	
	HCV NOT DETECTED
	6 (0.6%)

	
	Not detectedb
	Past/resolved infection
	HCV DETECTED
	1 (0.1%)

	
	
	
	HCV NOT DETECTED
	223 (22.6%)

	Non-reactive
	Detected
	Active Acute Infection
	HCV DETECTED
	3 (0.3%)

	
	
	
	HCV NOT DETECTED
	2 (0.2%)

	
	Not detected
	Not Infected
	HCV DETECTED
	1 (0.1%)

	
	
	
	HCV NOT DETECTED
	638 (64.8%)

	Total 
	985

	a “HCV detected” result for the cobas® HCV test is reported as either: “< Titer Min”, “15 IU/mL≤ Titer < 25 IU/mL”, “25 IU/mL ≤ Titer ≤ Titer Max”, or “> Titer Max”. The analytical interpretation for “<Titer Min” is HCV RNA detected but not quantified.
b “HCV not detected” result for the cobas® HCV test is reported as “Target Not Detected”. The analytical interpretation for “Target Not Detected” is HCV RNA not detected.



