Supplementary Information

Table S1

Mean (standard deviation) nucleic acid (DNA or RNA) concentrations, extraction purity value (A260/280 absorbance ratios), and microbe Cq values for 200 µl of REC sludge extracted with the PowerViral method using β-mercaptoethanol (BME) or dithiothreitol (DTT).

|  | BME | DTT |
| --- | --- | --- |
| DNA ng/uL (SD) | 250 (31) | 308 (47) |
| DNA A260/280 (SD) | 1.9 (0.01) | 1.9 (0.01) |
| C. cayetanensis Cq | 31.77 | 30.41 |
| RNA ng/uL (SD) | 201 (25) | 247 (42) |
| RNA A260/280 (SD) | 1.9 (0.01) | 1.9 (0.01) |
| MNV Cq | 25.69 | 26.07 |

SD: Standard deviation

Table S2

Number of replicate extract detections and mean Cq for detected C. cayetanensis, S. enterica, and MNV extracted from water samples using the PowerViral method. Water samples were seeded with 1,000 organisms per sample replicate. Two input volumes and bead beating bead compositions (bead tube) were investigated.

| Organism | Water type | Sample | Bead tube | Input volume (µL) | No. of detections (N=3) | Cq mean (SDV) |
| --- | --- | --- | --- | --- | --- | --- |
| C. cayetanensis | Surface | A | PowerViral | 200 | 3 | 32.22 (2.02) |
|  |  |  | PowerViral | 375 | 3 | 33.47 (0.75) |
|  |  |  | Matrix E | 200 | 3 | 32.65 (0.60) |
|  |  | B | PowerViral | 200 | 3 | 29.63 (0.43) |
|  |  |  | PowerViral | 375 | 3 | 32.76 (0.35) |
|  |  |  | Matrix E | 200 | 3 | 30.25 (0.62) |
|  |  | C | PowerViral | 200 | 3 | 31.70 (0.21) |
|  |  | D | PowerViral | 200 | 3 | 32.49 (0.14) |
|  | Tap | A | PowerViral | 200 | 3 | 33.81 (0.75) |
|  |  |  | PowerViral | 375 | 2 | 35.53 (0.38) |
|  |  |  | Matrix E | 200 | 3 | 30.57 (0.36) |
|  |  | B | PowerViral | 200 | 3 | 31.63 (0.11) |
|  |  |  | PowerViral | 375 | 3 | 35.74 (0.32) |
|  |  |  | Matrix E | 200 | 3 | 30.75 (0.21) |
|  | Wash | A | PowerViral | 200 | 3 | 33.44 (0.86) |
|  |  |  | PowerViral | 375 | 3 | 34.13 (0.77) |
|  |  |  | Matrix E | 200 | 3 | 32.00 (0.40) |
|  |  | B | PowerViral | 200 | 3 | 30.90 (0.13) |
| S. enterica | Surface | A | PowerViral | 200 | 3 | 31.46 (0.12) |
|  |  |  | PowerViral | 375 | 3 | 31.41 (0.32) |
|  |  |  | Matrix E | 200 | 3 | 32.29 (0.72) |
|  |  | B | PowerViral | 200 | 3 | 31.53 (0.27) |
|  |  |  | PowerViral | 375 | 2 | 31.59 (0.50) |
|  |  |  | Matrix E | 200 | 3 | 31.55 (0.52) |
|  |  | C | PowerViral | 200 | 3 | 30.77 (0.22) |
|  |  | D | PowerViral | 200 | 3 | 30.73 (0.18) |
|  | Tap | A | PowerViral | 200 | 3 | 31.30 (0.29) |
|  |  |  | PowerViral | 375 | 3 | 31.48 (0.02) |
|  |  |  | Matrix E | 200 | 3 | 31.60 (0.51) |
|  |  | B | PowerViral | 200 | 3 | 31.93 (0.27) |
|  |  |  | PowerViral | 375 | 3 | 32.10 (0.46) |
|  |  |  | Matrix E | 200 | 3 | 32.21 (0.36) |
|  | Washa | A | PowerViral | 375 | 3 | 32.36 (0.15) |
|  |  |  | Matrix E | 200 | 2 | 31.93 (0.08) |
|  |  | B | PowerViral | 200 | 3 | 31.12 (0.15) |
| MNV | Surfaceb | B | PowerViral | 200 | 3 | 25.84 (0.08) |
|  |  |  | PowerViral | 375 | 3 | 25.79 (0.17) |
|  |  |  | Matrix E | 200 | 3 | 26.17 (0.67) |
|  |  | C | PowerViral | 200 | 3 | 25.54 (0.14) |
|  |  | D | PowerViral | 200 | 3 | 25.59 (0.14) |
|  | Tap | A | PowerViral | 200 | 3 | 27.77 (0.43) |
|  |  |  | PowerViral | 375 | 3 | 28.72 (0.19) |
|  |  |  | Matrix E | 200 | 3 | 27.56 (0.20) |
|  |  | B | PowerViral | 200 | 3 | 26.71 (0.46) |
|  |  |  | PowerViral | 375 | 3 | 26.58 (0.39) |
|  |  |  | Matrix E | 200 | 3 | 26.82 (0.16) |
|  | Wash | A | PowerViral | 200 | 3 | 27.94 (0.11) |
|  |  |  | PowerViral | 375 | 3 | 28.46 (0.55) |
|  |  |  | Matrix E | 200 | 3 | 27.97 (0.16) |
|  |  | B | PowerViral | 200 | 3 | 25.50 (0.54) |

a No data collected for S. enterica for Wash A samples using 200 µL input volume and PowerViral bead tube

b No data collected for MNV from Surface A samples

Table S3

Number of replicate extract detections and mean Cq for detected C. cayetanensis, S. enterica, and MNV extracted from water samples using the UNEX method. Water samples were seeded with 1,000 organisms per sample replicate. Two input volumes and bead beating bead compositions (bead tube) were investigated.

| Organism | Water type | Sample | Bead tube | Input volume (µL) | Heated incubation | No. of detections (N=3) | Cq mean (SDV) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| C. cayetanensis | Surface | A | UNEX | 200 | N | 0 | NA |
|  |  |  | UNEX | 375 | N | 0 | NA |
|  |  |  | Matrix E | 200 | N | 0 | NA |
|  |  | B | UNEX | 200 | N | 0 | NA |
|  |  |  | UNEX | 375 | N | 1 | 35.82 (-) |
|  |  |  | Matrix E | 200 | N | 0 | NA |
|  |  | C | UNEX | 200 | Y | 0 | NA |
|  |  | D | UNEX | 200 | Y | 0 | NA |
|  | Tap | A | UNEX | 200 | N | 3 | 33.95 (1.47) |
|  |  |  | UNEX | 375 | N | 3 | 33.53 (1.57) |
|  |  |  | Matrix E | 200 | N | 1 | 36.25 (-) |
|  |  | B | UNEX | 200 | Y | 3 | 31.51 (1.12) |
|  |  |  | UNEX | 375 | Y | 3 | 31.96 (0.26) |
|  |  |  | Matrix E | 200 | Y | 3 | 35.07 (0.41) |
|  | Washa | A | UNEX | 200 | Y | 3 | 33.64 (0.69) |
|  |  |  | UNEX | 375 | Y | 3 | 33.96 (0.02) |
|  |  |  | Matrix E | 200 | Y | 3 | 32.85 (0.55) |
|  |  | B | UNEX | 200 | Y | 3 | 31.57 (0.39) |
| S. enterica | Surface | A | UNEX | 200 | N | 0 | NA |
|  |  |  | UNEX | 375 | N | 0 | NA |
|  |  |  | Matrix E | 200 | N | 0 | NA |
|  |  | B | UNEX | 200 | N | 0 | NA |
|  |  |  | UNEX | 375 | N | 1 | 34.50 (-) |
|  |  |  | Matrix E | 200 | N | 0 | NA |
|  |  | C | UNEX | 200 | Y | 0 | NA |
|  |  | D | UNEX | 200 | Y | 0 | NA |
|  | Tap | A | UNEX | 200 | N | 2 | 33.37 (0.75) |
|  |  |  | UNEX | 375 | N | 2 | 32.41 (0.94) |
|  |  |  | Matrix E | 200 | N | 1 | 34.44 (-) |
|  |  | B | UNEX | 200 | Y | 2 | 32.73 (0.04) |
|  |  |  | UNEX | 375 | Y | 3 | 33.64 (0.97) |
|  |  |  | Matrix E | 200 | Y | 0 | NA |
|  | Washa,b | A | UNEX | 375 | Y | 3 | 33.94 (0.16) |
|  |  |  | Matrix E | 200 | Y | 2 | 34.29 (0.88) |
|  |  | B | UNEX | 200 | Y | 3 | 32.52 (0.76) |
| MNV | Surface | B | UNEX | 200 | N | 0 | NA |
|  |  | B | UNEX | 375 | N | 0 | NA |
|  |  | B | Matrix E | 200 | N | 0 | NA |
|  |  | C | UNEX | 200 | Y | 0 | NA |
|  |  | D | UNEX | 200 | Y | 0 | NA |
|  | Tap | A | UNEX | 200 | N | 2 | 37.51 (0.11) |
|  |  |  | UNEX | 375 | N | 3 | 35.90 (0.76) |
|  |  |  | Matrix E | 200 | N | 2 | 36.19 (0.68) |
|  |  | B | UNEX | 200 | Y | 3 | 29.55 (0.33) |
|  |  |  | UNEX | 375 | Y | 3 | 30.10 (0.20) |
|  |  |  | Matrix E | 200 | Y | 3 | 29.37 (0.33) |
|  | Washa | A | UNEX | 200 | Y | 1 | 34.65 (-) |
|  |  |  | UNEX | 375 | Y | 3 | 35.18 (0.67) |
|  |  |  | Matrix E | 200 | Y | 2 | 35.75 (0.85) |
|  |  | B | UNEX | 200 | Y | 3 | 29.75 (0.55) |

a Wash water was only assessed with a heated incubation.

b No data collected for S. enterica for Wash A samples using 200 µL input volume, UNEX tube, and heated incubation

c No data collected for MNV from Surface A samples

Table S4

Mean (standard deviation) DNA concentrations and purity values (A260/280 absorbance ratios) for Surface A and Tap A samples extracted with the PowerViral and UNEX methods (N=3 extracts each).

| Extraction method |  | PowerViral |  | UNEX |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Input volume (µL) |  | 200 |  | 200 |  | 375 |
| Bead tube |  | PV | ME | UNEX | ME | UNEX |
| Surface A | DNA ng/µL (SD) | 6.2 (0.7) | 18.3 (12.1) | 18.5 (3.9) | 41.1 (5.7) | 35.1 (2.6) |
|  | A260/280 (SD) | 2.2 (0.13) | 1.8 (0.16) | 0.75 (0.06) | 0.94 (0.04) | 0.93 (0.06) |
| Tap A | DNA ng/µL (SD) | 8.6 (4.5) | 9.4 (11.9) | 27.9 (1.0) | 31.6 (1.2) | 36.8 (1.0) |
|  | A260/280 (SD) | 1.4 (0.08) | 1.2 (0.2) | 0.83 (0.05) | 0.81 (0.02) | 0.83 (0.05) |

SD: standard deviation

Table S5

Mean (standard deviation) DNA concentrations and purity values (A260/280 absorbance ratios) for RAS and REC sludge samples extracted with the PowerSoil, PowerViral, and UNEX methods (N=3 extracts each).

| Extraction method |  | PowerSoil | PowerViral | UNEX |
| --- | --- | --- | --- | --- |
| Input amount |  | 2 g | 200 µL | 200 µL |
| RAS | DNA ng/µL (SD) | 1212 (134) | 560 (70) | 211 (5.11) |
|  | A260/280 (SD) | 2.1 (0.04) | 2.0 (0.02) | 1.65 (0.06) |
| REC | DNA ng/µL (SD) | 333 (196) | 208 (18) | 97.3 (10.1) |
|  | A260/280 (SD) | 1.97 (0.012) | 1.92 (0.012) | 1.43 (0.039) |

SD: standard deviation