Supplementary Information

Characterizing dynamic atmosphere generation system performance for analytical method development

Amos Doepke, Robert P. Streicher, Peter B. Shaw, Ronnee Andrews, Dawn R. Farwick, Emily G. Westbrook, Jennifer L. Roberts, Paula F. O’Connor, Angela L. Stastny, Pramod S. Kulkarni

Contents:

Supplementary Figures S1, S2, and S3

Supplementary Tables S1, S2, and S3

Supplementary Figures

Figure S1. Histogram of the percent recovery from samples of a 40 ppmv n-heptane atmosphere.

Figures S2 A through D. Histogram of the percent recovery from samples of a 0.1 ppmv BTEX atmosphere with (A) benzene, (B) toluene, (C) ethylbenzene, and (D) o-xylene.

Figures S3 A through J. Histogram of the percent recovery from samples of a 0.1 ppmv atmosphere of a 10 VOC mixture of (A) mesitylene, (B) benzene, (C) chloroform, (D) ethylbenzene, (E) n-heptane, (F) o-xylene, (G) tetrachloroethylene, (H) p-xylene, (I) toluene, and (J) trichloroethylene.

Supplementary Tables

Table S1. Table of recovery from replicates of analyst spikes and sample replicates. Laboratory control spike (LCS), blind spike (BS) and sample replicates (SR). Two LCS were done denoted, LCS1,X and LCS2,X, where the X represents the replicated number, such that LCS1,2 represents the second replicate injection of the first LCS.

| Analysis | Compound | LCS1,1 | LCS1,2 | LCS2,1 | LCS2,2 | LCS Target |
| --- | --- | --- | --- | --- | --- | --- |
| n-heptane | Heptane | 3.61 | 3.62 | 3.61 | 3.46 | 3.40 |
| BTEX | Benzene | 4.14 | 4.20 | 4.12 | 4.20 | 4.37 |
| BTEX | Ethyl benzene | 4.26 | 4.19 | 4.19 | 4.06 | 4.33 |
| BTEX | o-Xylene | 4.05 | 4.09 | 4.09 | 4.15 | 4.36 |
| BTEX | Toluene | 4.17 | 4.10 | 4.09 | 4.15 | 4.33 |
| 10 VOC | mesitylene | 4.38 | 4.32 | 4.47 | 4.35 | 4.32 |
| 10 VOC | Benzene | 4.52 | 4.61 | 4.49 | 4.50 | 4.37 |
| 10 VOC | Chloroform | 4.49 | 4.43 | 4.94 | 4.48 | 4.47 |
| 10 VOC | Ethylbenzene | 4.41 | 4.45 | 4.35 | 4.36 | 4.34 |
| 10 VOC | Heptane | 3.68 | 3.69 | 3.55 | 3.71 | 3.40 |
| 10 VOC | o-Xylene | 4.53 | 4.43 | 4.32 | 4.45 | 4.39 |
| 10 VOC | Perchloroethylene | 4.97 | 5.02 | 5.06 | 5.05 | 4.86 |
| 10 VOC | p-Xylene | 4.54 | 4.41 | 4.34 | 4.44 | 4.31 |
| 10 VOC | Toluene | 4.52 | 4.56 | 4.47 | 4.55 | 4.34 |
| 10 VOC | Trichloroethylene | 4.53 | 4.51 | 4.34 | 4.33 | 4.39 |

Table S1 continued

| Analysis | Compound | BS1,1 | BS1,2 | BS2,1 | BS2,2 | BS3,1 | BS3,2 | BS Target |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| n-heptane | Heptane | 6.87 | 6.92 | 6.94 | 7.22 | n/a | n/a | 6.8 |
| BTEX | Benzene | 8.27 | 8.24 | 8.75 | 8.65 | n/a | n/a | 8.74 |
| BTEX | Ethyl benzene | 8.18 | 8.22 | 8.75 | 8.67 | n/a | n/a | 8.67 |
| BTEX | o-Xylene | 8.25 | 8.29 | 8.77 | 8.77 | n/a | n/a | 8.73 |
| BTEX | Toluene | 8.2 | 8.21 | 8.74 | 8.70 | n/a | n/a | 8.67 |
| 10 VOC | mesitylene | 8.62 | 9.16 | 9.06 | 8.94 | 8.39 | 8.64 | 8.64 |
| 10 VOC | Benzene | 8.64 | 9.30 | 9.14 | 9.06 | 8.82 | 9.03 | 8.74 |
| 10 VOC | Chloroform | 8.57 | 8.77 | 8.77 | 8.60 | 9.01 | 8.45 | 8.93 |
| 10 VOC | Ethylbenzene | 8.54 | 8.87 | 8.98 | 8.85 | 8.65 | 8.66 | 8.67 |
| 10 VOC | Heptane | 7.17 | 7.44 | 7.51 | 7.49 | 7.10 | 7.23 | 6.80 |
| 10 VOC | o-Xylene | 8.59 | 9.24 | 8.76 | 8.99 | 8.52 | 8.80 | 8.79 |
| 10 VOC | Perchloroethylene | 10.0 | 10.3 | 9.72 | 10.1 | 10.0 | 9.99 | 9.72 |
| 10 VOC | p-Xylene | 8.71 | 9.28 | 8.97 | 9.05 | 8.67 | 8.89 | 8.61 |
| 10 VOC | Toluene | 8.82 | 9.34 | 9.19 | 9.27 | 8.90 | 9.13 | 8.67 |
| 10 VOC | Trichloroethylene | 8.72 | 8.93 | 9.16 | 8.92 | 8.68 | 8.43 | 8.78 |

Table S1 continued

| Analysis | Compound | SR1,1 | SR1,2 | SR1 Target | SR2,1 | SR2,2 | SR2 Target |
| --- | --- | --- | --- | --- | --- | --- | --- |
| n-heptane | Heptane | 286 | 285 | 252.4 | 446 | 436 | 439.04 |
| BTEX | Benzene | 1.96 | 1.98 | n/a | 2.06 | 1.95 | n/a |
| BTEX | Ethyl benzene | 2.69 | 2.73 | n/a | 2.91 | 2.68 | n/a |
| BTEX | o-Xylene | 2.66 | 2.68 | n/a | 2.81 | 2.60 | n/a |
| BTEX | Toluene | 2.31 | 2.35 | n/a | 2.51 | 2.34 | n/a |
| 10 VOC | mesitylene | 6.35 | 6.05 | n/a | 6.41 | 6.13 | n/a |
| 10 VOC | Benzene | 4.04 | 3.98 | n/a | 3.83 | 3.89 | n/a |
| 10 VOC | Chloroform | 5.37 | 5.68 | n/a | 5.64 | 5.66 | n/a |
| 10 VOC | Ethylbenzene | 5.23 | 5.09 | n/a | 5.33 | 5.33 | n/a |
| 10 VOC | Heptane | 5.40 | 5.21 | n/a | 5.16 | 5.10 | n/a |
| 10 VOC | o-Xylene | 5.46 | 5.24 | n/a | 5.33 | 5.17 | n/a |
| 10 VOC | Perchloroethylene | 7.86 | 8.30 | n/a | 8.39 | 8.26 | n/a |
| 10 VOC | p-Xylene | 5.40 | 5.31 | n/a | 5.45 | 5.06 | n/a |
| 10 VOC | Toluene | 4.59 | 4.57 | n/a | 4.71 | 4.56 | n/a |
| 10 VOC | Trichloroethylene | 7.76 | 6.63 | n/a | 6.79 | 6.18 | n/a |

Table S2. Table of percent recovery for analysis of laboratory control spikes during the sample analysis of a generated atmosphere of a mixture of 10 VOCs.

| Analyte | % Recovery |
| --- | --- |
| Mesitylene | 101.8 |
| Benzene | 103.0 |
| Chloroform | 102.7 |
| Ethylbenzene | 101.4 |
| Heptane | 105.9 |
| o-Xylene | 100.1 |
| Perchloroethylene | 103.3 |
| p-Xylene | 102.7 |
| Toluene | 104.4 |
| Trichloroethylene | 101.4 |

Table S3. Pooled RSD of the laboratory control spike replicates (SrLCS), the blind spike replicates (SrBS) and sample replicates (SrSR) for each of the analytical sets.

| compound | SrLCS | SrBS | SrSR |
| --- | --- | --- | --- |
| n-heptane | 0.0213 | 0.0201 | 0.0115 |
| benzene | 0.0120 | 0.0060 | 0.0279 |
| toluene | 0.0178 | 0.0052 | 0.0418 |
| ethyl benzene | 0.0088 | 0.0024 | 0.0390 |
| o-xylene | 0.0112 | 0.0024 | 0.0361 |
| mesitylene | 0.0153 | 0.0397 | 0.0329 |
| benzene | 0.0099 | 0.0449 | 0.0108 |
| chloroform | 0.0493 | 0.0409 | 0.0281 |
| ethylbenzene | 0.0047 | 0.0235 | 0.0136 |
| n-heptane | 0.0221 | 0.0238 | 0.0188 |
| o-Xylene | 0.0186 | 0.0484 | 0.0256 |
| tetrachloroethylene | 0.0051 | 0.0280 | 0.0283 |
| p-Xylene | 0.0185 | 0.0397 | 0.0380 |
| toluene | 0.0099 | 0.0365 | 0.0163 |
| trichloroethylene | 0.0025 | 0.0266 | 0.0915 |