**Supplemental Table 1.** Multiple reaction mode (MRM) transitions used for monitoring nicotine in e-Cigarette samples.

|  |  |  |
| --- | --- | --- |
| **Compound** | **Retention Time (min)** | **MRM Transitions, m/z** |
| **Quantitation** | **Confirmation** |
| **(Dwell (ms); Ionization Energy (V))** |
| Quinoline (ISTD) | 1.76 | 129 → 102 (40; 7) | 102 → 76 (40; 7) |
| Nicotine | 1.97 | 162 → 133 (50; 2) | 161 → 133 (50; 2) |

min: minutes, ms: milliseconds, V: voltage