## Plate stabilizers
Plate stabilizers
Notes: Positive cut-off ≥2.0 | Results: Stabilguard mirrors the comparative results closer than the other stabilizers. IAS is the second best, with PVA being the most erratic.
Sample 7 should be background so cannot plot. | This also proves that a stabilizer is imperative as "None" loses activity quickly in the time course.
With stabilguard, all samples react similarly to the comparative plate at least as far out as 6 months at both 4 deg C and RT. Little difference between RT and 4 deg C.
This was with a different sample set to other indiv components | With stabilguard and IAS, all results were correct after the 3 month/37 deg C stress test.
Stabilguard has the most consistent negative control Ods

## Sample buffer
Sample buffer
Notes
Sample 8 not plotted because it is a normal antigen responder (background)
Positive cut-off ≥2.0

## Serum controls
Serum controls
Sets A and B performed at different times
Positive cut-off is ≥2.0
| Set A | Set B

## Antigens
Lot 599 (previously unlyophilized) TC 5mRad gamma and Nag Vero 553 at 1:50 in 30% goat/10X WB (final 3% goat serum/1X WB)
Positive cut-off is ≥2.0
Serum 7 not plotted because it is a normal antigen responder
Lot 000834 (previously unlyophilized) TC 4.5 mRad gamma; 0.025% BPL 1:35 in 30% goat/10X WB (final 3% goat serum/1X WB)
serum 7 not plotted because it is a normal antigen responder
Lot 000834 in Trehalose 2.5% (10X WB)
Inconsistencies seen in individual wells with trehalose which were of concern
serum 7 not plotted because it is a normal antigen responder
TC000834 in 1X wash buffer after reconstitution (normal is 000862)
serum 8 not plotted because it is a normal antigen responder
sera are a different set than those above
month 12 data missing for serum 4

## Conjugate
Conjugate lyophilized at working dilution lost activity rapidly
at RT and 4 deg C, therefore was not useful. The Ods of the Neg control
diminished to almost zero.
Serum 7 data not plotted because it is a normal antigen responder
Positive cut-off is ≥2.0
Liquid format stabilizers worked well. Guardian was the worst partly due to increased OD of neg control;
Stabilzyme Select (SZ Select) and SZ Select HRP are similar at both RT and 4 deg.
Serum 7 data not plotted because it is a normal antigen responder
New sample set
Due to interaction of stabilizers when components were combined, tried reducing the amount of stabilizer in liquid format
followed by diluting in reconstituted lyophilized buffer. Used 1:23 6B6C-1 lot 474 in Stabilzyme Select (total 55 ul/vial) and 345 ul of lyoph'd 30% goat serum/10X WB, recon'd to 3.45 ml w/ H2O.
Added 50 ul of the 1:23 to the 3% gt/1X WB.
Serum 8 not plotted because it is a normal antigen responder

## Substrates
Substrates
All substrates including comparative were stopped with KPL stop.
Substrates stored at 4 deg were stopped with stop at 4 deg; substrates at RT were stopped with stop at RT
Stop was also incubated at 37 deg C
The consistency among the 3 replicates was poor after 37 deg storage
The substrates/stop at 37 significantly reduces the quality of the test
Serum 7 not plotted because it is a normal antigen responder
K-Blue TMB-ELISA with second serum set
Serum 8 not plotted because it is a normal antigen responder

## Stop
KPL Stop Solution
Serum 8 not plotted because it is a normal antigen responder

## final kit components by sample
Final kit components by sample
Serum 8 not plotted as it is a normal antigen responder