## Slide 2
Figure S1. MS (Top Panel) and MS/MS (Bottom Panel) analysis of 241.10 m/z [M+H]+ ion (Peak # 1P) that is likely a phosphate adduct of hydrolyzed HDI. Note complete abolishment upon CID.

## Slide 3
Figure S2. MS (Top Panel) and MS/MS (Bottom Panel) analysis of 383.21 m/z [M+H]+ ion (Peak # 2BP) that is likely a phosphate adduct of dimeric hydrolyzed HDI. Note complete abolishment upon CID.

## Slide 4
Figure S3. LC-MS total ion current of the reaction products that form when HDI is introduced into a phosphate buffered saline solution containing albumin protein (blue line) or without albumin (green line).
Y axis depicts ion intensity and X-axis is retention time in minutes.

## Slide 5
Figure S4. MS analysis of HDI reaction products formed in the presence and absence of protein. Products with a retention time of 3.4 minutes (Peak# 2B in Figure 1) formed when HDI is reacted in the presence (top panel) or absence (bottom panel) of albumin. Note relative increase in larger polymers (e.g. [M+H]+ ions with larger m/zs’) as highlighted with arrows, in the absence of albumin. *922.0098 m/z [M+H]+ ion is calibration reference.

## Slide 6
Figure S5. MS analysis of HDI reaction products formed in the presence and absence of protein. Products with a retention time of 2.1 minutes (Peak# 2BP in Figure 1) formed when HDI is reacted in the presence (top panel) or absence (bottom panel) of albumin. Note relative increase in larger polymers (e.g. [M+H]+ ions with larger
m/zs’) as highlighted with arrows, in the absence of albumin.

## Slide 7
Figure S6. LC-MS analysis of human U937 cell extracts. Panel A. BPC of U937 cell extracts following culture with <3kDa reaction products of HDI in phosphate buffered saline (red dashed line) vs control buffer identically incubated and processed (solid black line). Y-axis depicts ion intensity and X-axis depicts retention time in minutes. Panel B. MS of major peak (see arrow) containing the novel 260.23 m/z [M+H]+ ion. Panel C. MS of major peak (see arrow) containing the 259.25 m/z [M+H]+ ion, and the corresponding doubly charged (z=2) ion. *Note Slight delay in retention time compared to Figures in main manuscript as starting buffer B was reduced to 2%.
A
B
C
Base Peak
260.23 m/z
Base Peak
259.25 m/z
260.23 m/z (z=1)
130.13 m/z (z=2)
259.25 m/z (z=1)