Supporting Information:

**A sensitive LC-MS/MS method for measurement of organophosphorus pesticides and their oxygen analogs in air sampling matrices**

*Journal of Environmental Science and Health*

1. Jenna Armstrong1
2. Russell Dills2
3. Jianbo Yu3
4. Michael Yost4
5. Richard Fenske5

1Department of Environmental and Occupational Health Sciences, School of Public Health, University of Washington, Seattle, WA, 98195

Address correspondence to Jenna Armstrong, c/o Pacific Northwest Agricultural Safety and Health Center, Department of Environmental and Occupational Health Sciences, School of Public Health, University of Washington, Seattle, WA, 98195, UW Box 357234 email: jennaa@uw.edu.

Acronyms and Abbreviations

TY - JOUR

T1 - A sensitive LC-MS/MS method for measurement of organophosphorus pesticides and their oxygen analogs in air sampling matrices

AU - Armstrong,Jenna L.

AU - Dills,Russell L.

AU - Yu,Jianbo

AU - Yost,Michael G.

AU - Fenske,Richard A.

PY - 2014

Y1 - 2014

N2 - A rapid liquid chromatography tandem mass spectrometry (LC-MS/MS) method has been developed for determination of levels of the organophosphorus (OP) pesticides chlorpyrifos (CPF), azinphos methyl (AZM), and their oxygen analogs chlorpyrifos-oxon (CPF-O) and azinphos methyl-oxon (AZM-O) on common active air sampling matrices. XAD-2 resin and polyurethane foam (PUF) matrices were extracted with acetonitrile containing stable-isotope labeled internal standards (ISTD). Analysis was accomplished in Multiple Reaction Monitoring (MRM) mode, and analytes in unknown samples were identified by retention time (±0.1 min) and qualifier ratio (±30% absolute) as compared to the mean of calibrants. For all compounds, calibration linearity correlation coefficients were ≥0.996. Limits of detection (LOD) ranged from 0.15-1.1 ng/sample for CPF, CPF-O, AZM, and AZM-O on active sampling matrices. Spiked fortification recoveries were 78-113% from XAD-2 active air sampling tubes and 71-108% from PUF active air sampling tubes. Storage stability tests also yielded recoveries ranging from 74-94% after time periods ranging from 2-10 months. The results demonstrate that LC-MS/MS is a sensitive method for determining these compounds from two different matrices at the low concentrations that can result from spray drift and long range transport in non-target areas following agricultural applications. In an inter-laboratory comparison, the limit of quantification (LOQ) for LC-MS/MS was 100 times lower than a typical gas chromatography-mass spectrometry (GC-MS) method. © 2014 Copyright Taylor and Francis Group, LLC.

AB - A rapid liquid chromatography tandem mass spectrometry (LC-MS/MS) method has been developed for determination of levels of the organophosphorus (OP) pesticides chlorpyrifos (CPF), azinphos methyl (AZM), and their oxygen analogs chlorpyrifos-oxon (CPF-O) and azinphos methyl-oxon (AZM-O) on common active air sampling matrices. XAD-2 resin and polyurethane foam (PUF) matrices were extracted with acetonitrile containing stable-isotope labeled internal standards (ISTD). Analysis was accomplished in Multiple Reaction Monitoring (MRM) mode, and analytes in unknown samples were identified by retention time (±0.1 min) and qualifier ratio (±30% absolute) as compared to the mean of calibrants. For all compounds, calibration linearity correlation coefficients were ≥0.996. Limits of detection (LOD) ranged from 0.15-1.1 ng/sample for CPF, CPF-O, AZM, and AZM-O on active sampling matrices. Spiked fortification recoveries were 78-113% from XAD-2 active air sampling tubes and 71-108% from PUF active air sampling tubes. Storage stability tests also yielded recoveries ranging from 74-94% after time periods ranging from 2-10 months. The results demonstrate that LC-MS/MS is a sensitive method for determining these compounds from two different matrices at the low concentrations that can result from spray drift and long range transport in non-target areas following agricultural applications. In an inter-laboratory comparison, the limit of quantification (LOQ) for LC-MS/MS was 100 times lower than a typical gas chromatography-mass spectrometry (GC-MS) method. © 2014 Copyright Taylor and Francis Group, LLC.

KW - Air monitoring

KW - drift

KW - organophosphorus

KW - oxon

KW - pesticide

KW - polyurethane foam

KW - XAD resin

UR - http://www.scopus.com/inward/record.url?scp=84890329422&partnerID=8YFLogxK

UR - http://www.scopus.com/inward/citedby.url?scp=84890329422&partnerID=8YFLogxK

U2 - 10.1080/03601234.2014.846744

DO - 10.1080/03601234.2014.846744

M3 - Article

VL - 49

SP - 102

EP - 108

JO - Journal of Environmental Science and Health - Part B Pesticides, Food Contaminants, and Agricultural Wastes

T2 - Journal of Environmental Science and Health - Part B Pesticides, Food Contaminants, and Agricultural Wastes

JF - Journal of Environmental Science and Health - Part B Pesticides, Food Contaminants, and Agricultural Wastes

SN - 0360-1234

IS - 2