Supporting Information for:

Quantification of Hypoglycin A and Methylenecyclopropylglycine in Human Plasma by HPLC-MS/MS

Aimee A. Sanford;1 Samantha L. Isenberg;2 Melissa D. Carter;2* Mike A. Mojica;3 Thomas P. Mathews;3 Sarah Laughlin;1 Jerry D. Thomas;2 James L. Pirkle;2 Rudolph C. Johnson2

1Oak Ridge Institute for Science and Education, Atlanta, GA

2Division of Laboratory Sciences, National Center for Environmental Health, Centers for Disease Control and Prevention, Atlanta, GA

3Battelle Memorial Institute at the Centers for Disease Control and Prevention, Atlanta, GA

*Correspondence to: Melissa D. Carter, PhD, Division of Laboratory Sciences, Centers for Disease Control and Prevention, Atlanta, GA 30341, USA. Email: melissa.carter@cdc.hhs.gov

Table of Contents

Figure S1. Sample Preparation Workflow………………………………………………………S2

Figure S2. Chromatographic Separation of MCPG………………………………………..……S3

Figure S1: Sample preparation workflow.

Figure S2. Chromatographic separation of MCPG. Initial method development revealed an isobaric interference (b) near the MCPG (100 ng/mL) peak (a). The linear gradient was varied to increase the resolution (R=1.18 (ta-tb)Wa,1/2+ Wb,1/2) of MCPG. Here: ta and tb represent peak retention times and Wa,1/2 and Wb,1/2 represent the peak-widths at 50% of the peak height. The final gradient led to a 247% improvement in resolution (R=5.27).