## Sheet1
Article DOI: https://doi.org/10.3201/eid2505.180220
An Overview of Wuhan National Biosafety Laboratory (Level 4) User Training Program*
Participant |  | Step 1. Pre-assessment | Step 2. Theoretical and practicum training | [22 empty] | Step 3. Final assessment and certification
|  |  | Theoritical (Lecture, small group) | [13 empty] | Hands-on (Mock laboratory, One-on-One) | [5 empty] | Mentored (Inside BSL-4 laboratory,One-on-One) |  |  | Grade green | Grade orange (Independent access) | Grade red (As mentor)
|  |  | Biosafety Laws and Regulations | Fundamentals of Biosafety | Biosecurity | Knowledge of Pathogenic Microorganisms | Biosafety Laboratory Management | Biosafety Risk Assessment | Biological Exposures and Emergency Responses | Biosafety Cabinet | Personal Protective Equipment | Waste Management and Decontamination | Handling animals in Biocontainment Laboratory | BSL-4 Facilities | Specialized Procedures in a BSL-4 Laboratory | BSL-4 Laboratory Operations and Maintenance | Positive Pressure Suit Training | Laboratory Entry and Exit | General Practices | Working Safely with Sharps and Animals | Emergency Responses | Facility Inspection and Engineering Controls | Support Work at the BSL-4 Laboratory | In Vitro Work at the BSL-4 Laboratory | Animal Work at the BSL-4 Laboratory | Minimum requirements
Laboratory managers and Biosafety professionals |  | Determine the past experience and identify the training needs | ＋ | ＋ | ＋ | ＋ | ＋ | ＋ | ＋ | E | E | E | E | ＋ | ＋ | E | ＋ | ＋ | E |  | ＋ |  | E |  |  | Pass final test and 20 hrs with 10 entries or pass final test (with BSL-4 experience) | >1 year related experince after grade green | >3 year related experince after grade orange
Operations Maintenance staff |  |  | ＋ | ＋ | ＋ | ＋ |  | ＋ | ＋ | ＋ | ＋ | ＋ |  | ＋ | ＋ | ＋ | ＋ | ＋ | ＋ |  | ＋ | ＋ | ＋ |  |  | Pass final test and 20 hrs with 10 entries or pass final test (with BSL-4 experience) | >1 year related experince after grade green | >3 year related experince after grade orange
Researchers and Technicians | in vitro work |  | ＋ | ＋ | ＋ | ＋ | E | ＋ | ＋ | ＋ | ＋ | ＋ |  | ＋ | ＋ | E | ＋ | ＋ | ＋ | E | ＋ |  |  | ＋ |  | Pass final test and 45 hrs with 15 entries or pass final test (with BSL-4 experience) | 100 hrs after grade green or 40 hrs after grade green (with BSL-4 experiecne)
| Animal work |  | ＋ | ＋ | ＋ | ＋ | E | ＋ | ＋ | ＋ | ＋ | ＋ | ＋ | ＋ | ＋ | E | ＋ | ＋ | ＋ | ＋ | ＋ |  |  |  | ＋ | Pass final test and 60 hrs with 20 entries or pass final test (with BSL-4 experience) | 200 hrs after grade green or 80 hrs after grade green (with BSL-4 experience) | 300 work hs after grade orange
*+, required course; E, elective course.