Supplemental Table 1. Analytes and limits of detection (LOD)

|  |  |  |  |
| --- | --- | --- | --- |
| Media | Laboratory | Analyte | LOD (units) |
| Whole blood | MDHHS1 | Total mercury | 0.5 µg/L |
| Serum | MDHHS1 | PCBs | 0.31-0.125 mg/mL |
| DDE | 0.25 ng/mL |
| CDC2 | Dioxins | 0.032-62 pg/g lipid |
| Furans | 0.022-6.5 pg/g lipid |
| Non-ortho substituted PCBs | 0.28-150 pg/g lipid |
| 1 Michigan Department of Human Health Services Laboratories |
| 2 Centers for Disease Control and Prevention National Center for Environmental Health Laboratories |