|  | Race or Hairstyle | n | Mean Difference (scan-manual) | Standard Deviation (SD) | One-Way Anyalysis of Variance |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | F | Significance |
| Stature by Race |  |  |  |  | 0.30 | 0.74 |
|  | Black | 136 | 0.53 | 0.33 |  |  |
|  | White | 126 | 0.55 | 0.32 |  |  |
|  | Other | 130 | 0.56 | 0.31 |  |  |
| Head Circumference by Race |  |  |  |  | 1.37a | 0.25 |
|  | Black | 136 | 0.30 | 0.24 |  |  |
|  | White | 126 | 0.26 | 0.17 |  |  |
|  | Other | 130 | 0.27 | 0.22 |  |  |
| Head Circumference by Hairstyle |  |  |  |  | 0.39 | 0.53 |
|  | Large hair | 347 | 0.28 | 0.22 |  |  |
|  | Not large hair | 45 | 0.26 | 0.21 |  |  |
| Arm Circumference by Race |  |  |  |  | 0.02 | 0.98 |
|  | Black | 136 | -0.15 | 0.20 |  |  |
|  | White | 126 | -0.15 | 0.18 |  |  |
|  | Other | 130 | -0.14 | 0.19 |  |  |
| aAsymptomatically F distributed and tested with Brown-Forsythe |  |  |  |  |  |  |