Supporting Information

Polarization and T1 measurement

Liquid polarization level and longitudinal relaxation time (T1) of hyperpolarized [1-13C]-L-lactate were calculated from independent in vitro measurements. 90-L [1-13C]lactate samples (n = 4) were polarized with the SPINlab for 5 hours, dissolved, collected in a 6-mL syringe, rapidly transported to the 3T MR scanner, positioned at the center of an 13C/1H dual-tuned birdcage rat RF coil (GE Healthcare, Øinner = 80 mm), and scanned using a non-selective pulse-and-acquire MRS sequence (TR = 3 sec, 5.625o hard pulse, pulse width = 24 sec, scan time = 4 min). One sample was mixed with a gadolinium complex (Magnevist, 1 mM) to demonstrate the effect of Gd(III) on the 13C T1. A gadolinium-doped 2-M [1-13C]-L-lactate syringe phantom was used for RF calibration. The RF transmit gain was first calibrated for 180o non-selective excitation that nulls 13C signal in absorption mode, then adjusted by calculation for a 5.624o pulse. To calculate the T1, the lactate resonance was integrated from the spectrum at each time point, and the signal loss due to RF excitation was corrected before fitting the lactate decay to a mono-exponentially decaying function. To estimate the polarization level, the thermal MR signal was measured by averaging 600 scans of the sample with a 90o hard pulse (TR = 6 sec) after adding gadolinium (Magnevist, 5 mM) in the sample. The dissolution-to-scan time was 30 – 40 seconds.

Data reconstruction and kinetic analysis

The obtained time-course data were fit using the following multi-site exchange model, which is extended from previously presented two-site exchange model to estimate apparent conversion rate constants (k’s) and apparent T1’s(1, 2). The measured lactate signal (lacmeasured) at the nth timepoint was first corrected for the excitation flip angle and RF sampling losses using (eq.1):

lacRFcor,n=lacmeasured,nsinθCn 	– (eq.1)

, where Cn is a correction factor for prior RF sampling losses. Pyruvate, alanine, bicarbonate (HCO3–), and aspartate produced within the nth pulse repetition time (TR) were calculated from the RF-corrected lactate signal (lacRFcor) with kLacPyr, kPyrAla, kPyrBic, and kPyrAsp (eq.2-5).

TR∙kLacPyr=pyrn+alan+bicn+aspnpyrn+alan+bicn+aspn+(lacRFcor,n+lacRFcor,n-1)/2 	– (eq.2)

TR∙kPyrAla=alanpyrn+alan 	– (eq.3)

TR∙kPyrBic=bicnpyrn+bicn	– (eq.4)

TR∙kPyrAsp=aspnpyrn+aspn 	– (eq.5)

Then, accumulated products during TR were calculated (eq.6-9) with the apparent T1 decay and RF sampling losses.

pyracm,n=pyrn+pyrn-1⋅e-TRT1,pyr⋅cosθ+pyrn-2⋅e-2TRT1,pyr⋅cos2θ+…

= k=1n(pyrk⋅e-(n-k)⋅TRT1,pyr⋅cosn-kθ) 		– (eq.6)

alaacm,n= k=1n(alak⋅e-(n-k)⋅TRT1,ala⋅cosn-kθ) 	– (eq.7)

bicacm,n= k=1n(bick⋅e-(n-k)⋅TRT1,bic⋅cosn-kθ) 	– (eq.8)

aspacm,n= k=1n(aspk⋅e-(n-k)⋅TRT1,asp⋅cosn-kθ) 	– (eq.9)

Finally, the best combination of the apparent T1’s and the apparent conversion rate constants were estimated by minimizing the 2-error between the measured products with the calculated products (pyracm, alaacm, bicacm, and aspacm).

Supporting Figures

Figure S1. Time curves of hepatic products from 60-mM or 30-mM hyperpolarized [1-13C]-L-lactate in a fasted rat (A, B) and a fed rat (C, D).

Figure S2. T1 decay of 30-mM hyperpolarized [1-13C]-L-lactate with (dotted line) and without (solid line) 1-mM gadolinium (Magnevist) in the sample.

|  | HCO3-/tC* | Pyruvate/tC | Alanine/tC | Aspartate/tC* | Lactate/tC | Aspartate/HCO3-* |
| --- | --- | --- | --- | --- | --- | --- |
| Fasted (n = 6) | 0.0011  0.0005 | 0.025  | 0.085  | 0.0047  0.0011 | 0.88  | 2.65  0.77 |
| Fed (n = 5) | 0.0117  0.0010 | 0.022  |  | 0.0005  0.0001 | 0.86  | 0.069  0.039 |

Table S1. Summary of metabolite ratios in fasted and fed rat liver (mean  standard error). tC: total 13C signal. * indicates statistical significance (P < 0.01).

|  | Apparent conversion rate constants (sec-1) |  |  |  | T1 relaxation times (sec) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | kLacPyr | kPyrAla | kPyrBic* | kPyrAsp* | T1,Pyr | T1,Ala | T1,Bic | T1,Asp |
| Fasted (n = 6) | 0.0075  0.0008 | 0.45  0.04 | 0.0034  0.0017 | 0.065 0.007 | 10.6  | 22.8  | 7.0  | 17.5  |
| Fed (n = 5) | 0.0099  0.0009 | 0.48  0.05 | 0.18  0.03 | 0.0013  | 9.6  | 22.1  | 6.8  | 17.9  |

Table S2. Summary of kinetic parameters in fasted and fed rat liver (mean  standard error). * indicates statistical significance (P < 0.001).

References for Supporting Information

1.	Park JM, Josan S, Jang T, Merchant M, Yen YF, Hurd RE, et al. Metabolite kinetics in C6 rat glioma model using magnetic resonance spectroscopic imaging of hyperpolarized [1-(13)C]pyruvate. Magn Reson Med. 2012;68(6):1886-93.

2.	Josan S, Hurd RE, Kerr AB, Yen YF, Larson PE, Pfefferbaum A, et al. Effects of RF excitation scheme on signal-to-noise ratio and apparent rate constant estimation in dynamic volumetric imaging of hyperpolarized [1–13C] pyruvate.  Annual Meeting of ISMRM2011.